[bookmark: _GoBack]Here’s a summary of our action items:
 
1. Jon: draw up new laser+controller can (edit to have all cabling and penetrators going through back plate; remove heat sink on laser; apply 120 W to housing to see heat transport; in progress)
2. Alana/Chad: rewire dye injector motor (in progress)
3. Chad: wiring diagram for dye injector (in progress)
4. Dale: follow up with Brock about fiber optic penetrators (in progress)
5. Dale: put together controller/labview for temperature, humidity sensors and laser analog power (in progress)
6. Chad: connect all components and determine power budget; verify connectors
7. Chad: have techs remove test points from board to allow for fan space (in progress)
8. Kakani: format new laptop (in progress; create new local login; migrate files to shared folder; install software required for operation, specs, drawings, etc.)
9. Chad: purchase USB to serial (DigE) for laptop (completed)
10. Kakani: bring camera to Dale and check on vignetting (completed)
11. Kakani: follow up with Ben about camera housing progress; need to determine whether we need to purchase materials for housing
12. Jon/Chad: make changes to laser housing interior to include Mini for hook-up to MiniROV; provide hole pattern; connectorize wiring between Mini and board
13. Kakani: 

2016ish
1. Chad: create binder that has schematics, components for DeepPIV (in progress)
2. Dale: purchase ELMO for DeepPIV project
3. Dale: make camera settings data available for VARS (in progress)
4. Dale: change color (flashing red) when delta exceeds some value (in progress)

Notes:
AC solution for power interface to other vehicles
In camera housing: camera, lens power source, just add power module
Injector power and controller as stand-alone unit from DeepPIV
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