Here’s a summary of our action items:
 
1. Alana/Chad: rewire dye injector motor (in progress; halls? removed from config but added to translational stage)
2. Chad: wiring diagram for dye injector (in progress)
3. Dale: follow up with Brock about fiber optic penetrators (completed; should be in on Monday)
4. Dale: put together controller/labview for temperature, humidity sensors and laser analog power (in progress)
5. Chad: connect all components and determine power budget; verify connectors (in progress; quiescent draw of both cans separately and together; want to run in active mode)
6. Chad: have techs remove test points from board to allow for fan space (in progress)
7. Kakani: format new laptop (in progress; create new local login; migrate files to shared folder; install software required for operation, specs, drawings, etc.; install ucon)
8. Kakani: follow up with Ben about camera housing progress; need to determine whether we need to purchase materials for housing (completed)
9. Jon/Chad: make changes to laser housing interior to include Mini for hook-up to MiniROV; provide hole pattern; connectorize wiring between Mini and board (in progress)
10. Chad: follow up with Seacon about potting connectors/cables (in progess; not communicating; will pot up cables at MBARI; Alana will try following up after Chad sends email with order information) 
11. Jon: add magnets to total configuration for limit switches
12. Chad: with techs, start MINK-10L cable
13. Dale: follow up with Ben for progress on camera housing; check that camera housing end cap has correct penetrators for our needs
14. Jon: pressure test remote head housing with glass face plate
15. [bookmark: _GoBack]Kakani: ask Denis if there’s a single mode fiber optic cable at MBARI; check availability for fiber optic alignment

2016ish
1. Chad: create binder that has schematics, components for DeepPIV (in progress)
2. Dale: purchase ELMO for DeepPIV project
3. Dale: make camera settings data available for VARS (in progress)
4. Dale: change color (flashing red) when delta exceeds some value (in progress)

Notes:
AC solution for power interface to other vehicles
In camera housing: camera, lens power source, just add power module
Injector power and controller as stand-alone unit from DeepPIV

Timeline:

Laser housing: completed April 8th
Camera housing: completed April 1st 
Remote head housing: completed March 25th
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