Here’s a summary of our action items:

- Alana/Chad: rewire dye injector motor (completed)

- Dale: put together controller/labview for temperature, humidity sensors and laser analog power (completed)

- Chad: have techs remove test points from board to allow for fan space (in progress)

- Kakani: format new laptop (completed)

- Jon/Chad: make changes to laser housing interior to include Mini for hook-up to MiniROV; provide hole pattern; connectorize wiring between Mini and board (completed)

- Jon: pressure test remote head housing with glass face plate (completed)

- Kakani: ask Denis if there’s a single mode fiber optic cable at MBARI; check availability for fiber optic alignment (completed)

- Dale: send Jon info for magnets from McMaster Carr (completed)

- Kakani: purchase cart for DeepPIV project

- Kakani: talk to Jim Schofield about v-blocks

- Kakani: purchase and change optics in remote head

- Jon: beef up laser arm and change translational stage operation to move both camera and remote laser head housings

- Chad: swap out VICOR in laser housing for operation with large ROVs

- Chad: test and pot dye injector motor cable

- Jon: finalize and finish DeepPIV frame and bracket with t-handle hardware

- Kakani: check optics to ensure coverage of laser sheet with camera rotated

- Chad: determine configuration for topside recording of video

- Dale: convert labview files to executable file

- Dale: give distribution amplifier to Kakani for tests on Western Flyer

- Chad: purchase spares for peristaltic pump

- Kakani: research Ben’s linear actuator

- Denis: design and build camera/laser calibration rig

- Chad: determine best options for video display on Western Flyer

- Jon: repair gash on laser power can and inspect endcaps for any corrosion

2016ish

- Chad: create binder that has schematics, components for DeepPIV (in progress)

- Dale: purchase ELMO for DeepPIV project

- Dale: make camera settings data available for VARS (in progress)

- Dale: change color (flashing red) when delta exceeds some value (in progress)

- Dale: allow for transmission of MiniROV video footage to shore

- Decouple camera and laser housings

Notes:

AC solution for power interface to other vehicles

Injector power and controller as stand-alone unit from DeepPIV