Here’s a summary of our action items:

- Chad: have techs fix standoff on board to allow for fan space (in progress)

- Kakani: purchase cart for DeepPIV project (completed)

- Kakani: talk to Jim Schofield about v-blocks (completed)

- Kakani: check optics to ensure coverage of laser sheet with camera rotated (completed)

- Kakani: purchase and change optics in remote head (in progress)

- Jon: beef up laser arm and change translational stage operation to move both camera and remote laser head housings (completed)

- Chad: swap out VICOR in laser housing for operation with large ROVs (completed)

- Chad: test and pot dye injector motor cable (in progress)

- Jon: finalize and finish DeepPIV frame and bracket with t-handle hardware (completed)

- Chad: determine configuration for topside recording of video (completed)

- Dale: convert labview files to executable file (in progress)

- Chad: purchase spares for peristaltic pump (in progress)

- Kakani: research Ben’s linear actuator (in progress)

- Denis: design and build camera/laser calibration rig (completed)

- Chad: determine best options for video display on Western Flyer (in progress)

- Kakani: download ELMO composer on DeepPIV laptop

- Jon: repair gash on laser power can and inspect endcaps for any corrosion (in progress)

- Kakani: talk to pilots about feeding video to shore

2016ish

- Chad: create binder that has schematics, components for DeepPIV (in progress)

- Dale: purchase ELMO for DeepPIV project

- Dale: make camera settings data available for VARS (in progress)

- Dale: change color (flashing red) when delta exceeds some value (in progress)

- Dale: allow for transmission of MiniROV video footage to shore

- Decouple camera and laser housings

Notes:

AC solution for power interface to other vehicles

Injector power and controller as stand-alone unit from DeepPIV