Dry benchtest of DeepPIV on June 13th.

Here’s a summary of our action items:

- Chad: have techs fix standoff on board to allow for fan space (completed)

- Kakani: purchase and change optics in remote head (in progress)

- Chad: test and pot dye injector motor cable (completed)

- Dale: convert labview files to executable file (in progress)

- Chad: purchase spares for peristaltic pump (in progress)

- Kakani: research Ben’s linear actuator (in progress)

- Kakani: determine best options for video display on Western Flyer (completed)

- Jon: repair gash on laser power can and inspect endcaps for any corrosion; adding anode to can (completed)

- Kakani: talk to pilots about feeding video to shore (completed)

- Kakani: find out if A7Sii has firmware upgrade (completed; need to install upgrade)

- Chad: test laser housing fan

- Kakani: close up housings

- Jon: follow up about t-handle and other mechanical mounts

- Kakani: talk to pilots about laser can mounting

- Kakani: copy DeepPIV files to laptop

- Chad: make pdfs of updated electrical schematics

2016ish

- Chad: create binder that has schematics, components for DeepPIV (in progress)

- Dale: purchase ELMO for DeepPIV project

- Dale: make camera settings data available for VARS (in progress)

- Dale: change color (flashing red) when delta exceeds some value (in progress)

- Dale: allow for transmission of MiniROV video footage to shore

- Decouple camera and laser housings

Notes:

AC solution for power interface to other vehicles

Injector power and controller as stand-alone unit from DeepPIV

Abstract:

- add camera zoom and focus

- new camera with smaller housing

- add syncing capability for laser sheet

- linear drive motor for dye injector

- ram for deployment in midwater