September 7, 2017

Upcoming cruises: 	October Barry cruise

- Todd: Find info on commercially available diopter mounts and diopters

- Jon: model up coherent laser and UDD2 power pack

- Alana: test new AC/DCs with laser (after 8/28 dive)

- Kakani: talk to Thor Labs about high power patch cable

- Kakani: talk to Coherent contacts about mechanical fiber connections

- Kakani/Denis: follow up with the galvo

- Kakani/Denis: talk to LEC, ask whether the base plate can be heated not just cooled for deep sea temps. (completed)

- Kakani: talk to Phantom to try out monochrome high speed camera

- Alana: Chad looking into IT1000 and getting a quote from Bob

- Alana: Find Vortex generator

- Team: email LEC when Jon’s drawings are complete ask the following questions:

  - Can we swap top mounted fan for our own cooling fans

  - Confirm the suppy + laser generates 100-200 Watts of heat

- Jon: provide approximate cost of building a second new-style camera housing and laser probe housing.

- To buy before end of the year

  - Pencil cameras (check with Chad re IT1000s)