October  26, 2017

Upcoming cruises: 	Robison in December?

- Kakani/Alana: skype with Raytrix

- Denis/Jon: test cables from Coastal connections for fiber optic penetrator

- Kakani: put in order for fiber injectors

- Alana: buy monochrome  IT1000, get info on IR cut filter.

- Jon: working on how to run new laser on the bench

- Denis: will determine max depth of field with 2/5 stop increments, Todd is working on this

- Alana: discuss linear actuators for DPIV with Ricketts pilots –done

- Alana: bring budget numbers next week for replicating vs. building light-field system.

- Kakani: try to find a way to send out notes through Trello

- Denis/Chad: start laser safety team, figure out plans for 2 W laser

- To buy before end of the year

  - Pencil cameras

Some later date:

- Alana: test new AC/DCs with laser (after 8/28 dive)

- Alana/Kakani: set up a meeting with Knute after the 1st of the year to

- Kakani/Denis: follow up with the galvo

- Alana/Kakani: decide what to build/buy for next year

- Alana: look into options for fcn generator board

- Kakani/Denis: waiting for info from Phantom on monochrome camera settings, trying to find out how much color camera would cost with IR cut filter- was $20k NRE + $2k running for more to get without the filter, Kakani using negotiating skills. Back burner.

- Denis: check what would be required for a two-axis galvo. Back burner