## Sheet1
Seawater Measurements
Macronutrients | Current sensors | Depth range | Notes | Power | Future directions | Resolution (conc, time) | Development time
Nitrate | Isus | 2000 |  |  | No reason could not be
Nitrite |  |  | Do we really need this?
Silicate | Reagent based? |  |  |  | Veronique Garcon electrochemical sensors
Phosphate | Reagent based (Wet Labs) | shallow |  |  | Veronique Garcon working on sensor
Micronutrients
iron
copper
trace metals
ammonium |  |  |  |  | MBARI project using fluorescence (Klimov)
ammonia | amonia analyzer (in situ?) |  | very slow for mooring not auv
pCO2 |  |  |  |  | Ingo Klimant working on optical film
Oxygen | optode | at least 4km |  |  | moving towards faster response
pH | Seafet Satlantic (Isfet), seabird electrode | 50 m, 1200 m