## Slide 1
38
70
120
200
333
Near Transducer Connectors
(Subconn Micro Circular 10pin?)
Souriau Connectors 20ft from Transducer
18ft (20ft Ducer to Connector
2ft ?
Transducer Set One
(currently being worked on)
Souriau Connectors About 60ft from Transducer
Original Amphenol Connector
About 40ft
1ft ?
Completed
Completed
Completed
Possible Future Work
To Be Done
Transducer Head and Frequency
Same as above
Same as above
Same as above
Same as above
Bulgin Mini 2 Pin
Bare Wire
About 20ft
Ground Cable

## Slide 2
38
70
120
200
Near Transducer Connectors
(Subconn Micro Circular 10pin?)
Souriau Connectors 20ft from Transducer
2ft ?
Possible Future Work
Transducer Head and Frequency
Same as above
Same as above
Same as above
Transducer Set Two
To Be Done
18ft (20ft Ducer to Connector
Bulgin Mini 2 Pin
Bare Wire
60 to 65 ft
Ground Cable

## Slide 3
Deep Rated Transducers
70
120
333
Near Transducer Connectors
(Burton connector removed and Subconn Micro Circular 8pin 2ft pigtail spliced on as a replacement)
7ft
Completed
7ft
Completed
To Be Done
7ft
Subconn Micro Circular 8pin 2ft pigtail spliced to standard transducer cable
13ft
Souriau Connectors 20ft from Transducer
To Be Done

## Slide 4
Extra Ducers and Cable Adapters
Near Transducer Connector
(Subconn Micro Circular 10pin?)
Near topside transceiver connection
(Souriau Connector)
40 to 60ft ???
Possible Future Work
70
About 40ft
(left over cable from transducer set 2 cuts?)
Souriau connector to plug into transceiver box
Souriau connector to plug into transceiver box
Subconn MCIL8F
(pigtail)
Intended to use for test calibrations in tank
Intended to use for test calibrations in tank
(will we need this one or are there other options?)

## Slide 5
Transducer Cable Work Phases
Partial work on transducer set #1 (completed)
  New 20ft from transducer connectors (Souriau connectors)
  New 40ft extension cables with new Souriau connectors
  Ground cable
Partial work on transducer set #2
  New 20ft from transducer connectors (Souriau connectors – Male 10pin)
    4 transducers total
  New longer ground cable with Bulgin Mini connector (40 to 60ft?)
Deep rated 333kHz
  Remove Burton connector and splice on 8 pin Male Subconn connector (MCIL8M)
  Make Subconn to Souriau connector extention – 8 pin Female Subconn to 10 pin male Souriau
Make Souriau to Amphenol adapters
  5 total
Add Souriau connector (male 10 pin) to end of extra 70kHz transducer
Make Subconn MCIL8F to Souriau extension cable
  For in tank calibration tests
  Utilize left over cable from transducer set #2 cuts
    Can be full length of remaining cable from on of the transducers which should end up being about 40+ ft
Priority work for middle of June Rachel Carson cruises

## Slide 7
Deep Rated Transducers
Burton Connector Removal and 8 Pin Subconn Replacement
333
5ft
1
4
2
5
3
6
7
8
Burton Connector
(to be removed)
1
2
3
4
5
6
7
8
Subconn MCIL8M
2ft
See deep rated transducer 70 and 120kHz if example work is helpful

## Slide 8
Subconn MCIL8 to Souriau Connectors
Extension for Deep Rated 333kHz Transducer
1
2
3
4
5
6
7
8
K
J
G
H
E
F
C
D
About 13ft
Includes portion of Subconn pigtail and extra standard Simrad transducer cable
Subconn MCIL8F
(pigtail)
Souriau 10 Pin
Male
A
B
Updated 2017-05-31
CHECK THIS
Souriaus are wired ‘backward’ relative to quadrant numbers just like the original Amphenol connectors

## Slide 9
Souriau to Amphenol Connectors
Short Adapter Cables
A
B
C
D
E
F
G
H
A
B
C
D
E
F
H
J
Original Amphenol Connector
About 1ft
Souriau 10 Pin
Female
J
K
Shield
Updated 2017-05-31
CHECK THIS