2/7/17

MBARI: Stereo Camera test

Test 1: Small tank

- Configuration

  - ISO: 500

  - F8 aperture

  - 7.5 degree tow in

  - 1/125th shutter speed (originally set to 1/100, but changed before photos taken)

  - Small tank with calibration board only at 0.5 meters from camera

  - Two lights

- One set of images taken with these settings (top and bottom)

- 5 second video taken with these settings

- 5 second video: same settings. This time a fish target was placed in the tank

- Second set of still images taken using Copper Rockfish target (27cm long)

Test 2: Large tank

- Configuration

  - ISO 500

  - F8 aperture

  - 7.5 degree tow in

  - 1/10 second shutter speed

  - Distance from target is 1.5 meters

  - Lower camera is ~39.5 cm above bottom of tank (bottom of calibration board)

- Still taken without fish: just board

- Stills with fish (Starry Rockfish: a darker and more cryptic species to ID)

  - Top

  - Middle

  - Bottom

- 5 second video: using fish target moving about the frame

- Determined that one of the lights was not turned on, and so repeated large tank tests starting with video

- 5 seconds of video using the Starry Rockfish target

  - Target moved about the frame

- Set of three photos with Starry Rockfish target

  - Top

  - Middle

  - Bottom