Benthic Observation Survey System (BOSS) Cable/Connector Definitions

Cable Definitions

W1 - PDU Power Cord

Yellow power cord with a male connector at end and female at the other. This cable delivers 110VAC to the Power Distribution Unit (PDU). It needs to be plugged into a different 110 circuit as the deck recorder. The PDU can operate from ‘dirty’ power.

W2 - 10-Channel Video Snake Cable

Cable with 10 color coded coaxial cables at each end. One end is attached to the rear video panel of the PDU; the other is connected to the rear of the deck recorder. The individual video channels are color coded on the cable and connector panels.

| Channel # | Signal | Color |
| --- | --- | --- |
| 1 | North Up | Brown |
| 2 | North Down | Red |
| 3 | South Up | Orange |
| 4 | South Down | Yellow |
| 5 | East Up | Green |
| 6 | East Down | Blue |
| 7 | West Up | Violet |
| 8 | West Down | Grey |
| 9 | Down | White |
| 10 | Overlay | Black |

W3 - 2-Channel Video Snake Cable

Cable with 2 color coded coaxial cables at each end. One end is attached to the rear video panel of the PDU; the other end is attached to the video switch on the rear of the SeeTec monitor. This allows the user to switch between the down camera and the quad view. Alternatively, we’ve been only using the down view on this monitor. In that case, the down channel can be plugged directly into the SeeTec monitor SDI input.

| Channel # | Signal | Color |
| --- | --- | --- |
| 11 | Down | White |
| 12 | Overlay | Red |

W4 - xx Feet Long Coaxial Cable

Pink coaxial cable. One end is attached to the rear video panel [Channel 15: Quad Upper Cameras] of the PDU; the other end goes to one of the Tote Vision monitors.

W5 - yy Feet Long Coaxial Cable

Black coaxial cable. One end is attached to the rear video panel [Channel 16: Quad Lower Cameras] of the PDU; the other end goes to one of the Tote Vision monitors.

W6 - Power Cord and Adaptor for the SeeTec Monitor

This is a wall wart for the SeeTec monitor and attached video switch.

W7 - Power Cord and Adaptor for Tote Vision Monitor #1

This is a wall wart for the Tote Vision monitor.

W8 - Power Cord and Adaptor for Tote Vision Monitor #2

This is a wall wart for the Tote Vision monitor.

W9 - Ethernet Cable to Laptop

This is a standard Cat-6 Ethernet cable. It attaches the BOS1 laptop to the network; the PDU has two Ethernet connections in the rear and an Ethernet switch accessible from the front.

W10 - Power Cord and Adaptor for Laptop

This is a wall wart for the BOS1 laptop.

W11 - VGA Cable for Deck Recorder Monitor

This is a VGA cable for the deck recorder. One side is permanently attached to the rear of the deck recorder. The cable can be pulled out and connected to a computer monitor.

W12 - Power Cord for Deck Recorder Monitor

This is a 110VAC extension cable which provides power to the monitor.

W13 - USB Cord for Deck Recorder Keyboard

The keyboard for the deck recorder has an attached USB cable. It is plugged into the 2-port USB receptacle in the rear of the deck recorder.

W14 - USB Cord for Deck Recorder Mouse

The mouse for the deck recorder has an attached USB cable. It is plugged into the 2-port USB receptacle in the rear of the deck recorder.

W15 - USB Extender/Cable for External Hard Drive

Depending on where the deck recorder is physically mounted in the ship, a USB extension for an external hard drive may be necessary. The USB ports in the front of the deck recorder are USB 3.0 (fast) ports. The use of these USB ports speeds up the video file transferring process.

W16 - Power and Serial Cable for GPS Antenna

The GPS antenna has a built in serial/power cable. The antenna is mounted on the outside of the ship in a high location. The serial/power cable can then be run back into the skin of the ship. It is connected on the rear panel of the PDU [Labeled GPS]

W17 - Power Deck Lead for Winch

The power deck lead is a two pin cable with military grade Amphenol connectors on each end. The ends are color coded: the purple side is attached to the rear of the PDU. The orange side is run to the winch and is attached to the external J-Box.

W18 - Fiber Optics Deck Lead for Winch

The fiber deck lead is a rugged cable containing single mode fibers. One end is connected to the rear of the PDU. The other end is run to the winch and is attached to the external J-Box. It is not end specific.

W19 - 220VAC Power Cord for Winch

This cable delivers power for the winch. It will need to be connectorized specific to each ship.

W20 - Power Cable for Subsea Lander to Lander J-Box

This is a 2-pin SubConn whip. It connects the tether J-box to the endcap of the lander.

W21 - Fiber Optic Patch Cord for Subsea Lander to Lander J-Box

This is a Linden subsea fiber optic patch cord (green). It connects the tether J-Box to the endcap of the tether.

W22 - Charging Cable for Remote Winch Belly Pack

The charging cable is used to charge the remote belly pack when not in use.

W23 - Power Cord for Deck Recorder

The power cord for the deck recorder is a power strip. It needs to be plugged into a separate 110 circuit as the PDU. The 110VAC for the deck recorder should be ‘clean’ power coming from a UPS preferably.