Benthic Observation Survey System (BOSS) Deployment Installation

General Notes

When mobilizing, there will be several large pieces of gear and storage totes being loaded onto the ship. The totes have been labeled to help identify where to physically place them in order to expedite the installation process and to help prevent excess deck clutter. Approximately half of the equipment will be installed in an inner portion of the ship (dry lab) and the rest will be installed outside on the deck.

Internal Equipment

Power Distribution Unit (PDU)

Deck Recorder

Laptop Bag

Computer Monitor

Tote, Video Monitors

Tote, Control Room Cables

Tote, Deployment Spares

External Equipment

Winch

Lander

Sheave

Tool Box, Tools

Tool Box, Supplies

Tote, Launch & Recovery

Tote, Winch Cover

Internal Setup

Equipment Location

Both the PDU and Deck Recorder will need to be mounted on horizontal surfaces and both need to be tied down or secured. The Deck Recorder can be placed on the deck provided it is a completely dry area and can still be secured. The PDU is best placed on a desk or bench to make the front panel easily user accessible. The two deck leads (power and fiber) that connect the PDU to the winch are 30 feet long, so be sure to consider that distance before securing the PDU to the bench. The 10-channel video snake cable that connects the PDU to the Deck Recorder is 25 feet long. The PDU and Deck Recorder each need to be plugged into separate 110VAC circuits as their combined current draw (including turn-on surge) can exceed 20 amps.

PDU Setup

- Once the PDU is on a bench, remove the front and rear covers.

- Connect the 10-channel video snake cable [W2] to the rear video panel [C3a-C3j].

  - The connections are color coded.

  - The other end goes to the Deck Recorder.

- Connect the 2-channel video snake cable [W3] to the video rear panel [C5a-C5b].

  - The connections are color coded.

  - The other end goes to the SeeTec monitor.

- Connect a long BNC cable [W4] to the quad upper video output connection [C7].

  - The other end goes to the Tote Vision monitor #1.

- Connect a long BNC cable [W5] to the quad lower video output connection [C9].

  - The other end goes to the Tote Vision monitor #2.

- Connect the GPS cable [W16] to the rear DB9 connector label GPS [C27].

  - The GPS antenna will need to be mounted on the exterior of the ship in a high location.

  - The DB9 side of the cable may need to be run through any portals first if necessary.

- Connect the 2-pin power deck cable [W17] (purple end) to the rear panel [C28].

  - The other end (orange) goes to the winch (external J-box).

- Connect the fiber optic deck cable [W18] to the rear panel [C30].

  - Either end can be attached to the PDU.

  - The other end goes to the winch (external J-box).

- Connect the (yellow) power cable [W1] from the rear panel to a 110VAC plug [C2].

  - The PDU needs to be on a separate AC circuit as the Deck Recorder.

- For clean cable management, tie-wrap multiple cables together.

- Secure with tie downs or ratchet straps.

Deck Recorder

- Place the Deck Recorder on a flat surface within 15-20 feet of the PDU.

- Remove the front and rear covers.

- Connect the 10-channel video snake cable [W2] to the rear video panel [C4a-C4j].

  - The connections are color coded.

  - The other end goes to the PDU.

- Connect the keyboard and mouse [W13 & W14] to the dual channel USB port in the rear [C24 & C25].

- Connect the VGA cable [W11] (attached at rear) to the computer monitor [C21].

  - Plug a 110VAC power cord [W12] into the monitor and power strip at rear [C22 & C23].

- Connect a USB extender cable [W15] to the USB 3.0 port at the front of the Deck Recorder [C26].

  - This is for an external USB hard drive.

- For clean cable management, tie-wrap multiple cables together.

- Secure with tie downs or ratchet straps.

- The power cord [W23] for the Deck Recorder should be plugged into a switchable power strip [C40].

  - The Deck Recorder needs to be on a separate AC circuit as the PDU.

  - The Deck Recorder should be powered from a ‘clean’ power source, if available.

Video Monitors

- The two Tote monitors display the eight stereo cameras.

  - Connect their power supplies [W7 & W8] to 110VAC plugs [C13-C16].

  - Connect the two long BNC cables [W4 & W5] for the quad upper and lower videos [C7-C10].

    - SDI IN

- The SeeTec monitor displays the down camera.

  - Connect the power supply [W6] to a 115Vac plug [C11-C12].

  - Connect the 2-channel video snake cable [W3] to the video switch on the back of the monitor [C6a-C6b].

    - The other end is from the PDU rear panel.

- Secure the monitors to the work surface with bungee cords.

- For clean cable management, tie-wrap multiple cables together.

Laptop

- Place the laptop next to the PDU

- Plug in the laptop’s power adaptor [W10] [C19-C20].

- Plug an Ethernet cable [W9] from the laptop to an Ethernet port on the rear of the PDU [C17-C18].

External Setup

Equipment Location

The physical location of the winch will be determined by the bolt patterns on the aft deck. This detail should be worked out well in advance of the equipment mobilization. The lander should be located below the A-Frame and in front of the winch. The launch and recovery tote should be placed in a convenient location for deck operations, but also out of the way of foot traffic. The two tool boxes should be stored outside in an out of the way location.

Winch

- The winch should be bolted to the ship’s deck with the steel feet plates per the ship’s crew.

- Plug in the 220VAC input power cable [W19] to the specified ship connection [C32].

- Plug in the 2-pin power deck cable [W17] to the outer junction box on the winch [C29].

- Plug in the fiber optic deck cable [W18] to the outer junction box on the winch [C31].

- Physically route the 2-pin power cable and fiber cable to minimize them being walked on.

Lander

- Once the lander is craned onto the ship, secure to the deck with 4 tie downs.

- When convenient for the ship’s crew, have them secure the sheave to their A-Frame.

- Run the excess tether from the winch through the sheave down to the lander.

- Attach the Esmet mechanical fitting to the fitting at the top of the lander.

- Power up the winch and pull in any excess tether.

- Attach the tether’s J-Box to the side of the lander.

  - The tether is longer than needed so coil it around the lander near the top (just below the endcap) before securing the J-Box.

- Attach the green Linden subsea fiber patch cord [W21] [C35 & C36].

  - Attach the J-Box end first.

  - Clean the fiber ferrule and FC bulkhead with appropriate cleaning supplies.

  - The FC fiber connectors have a clocking notch; be sure it’s seated properly.

  - Before attaching to the endcap, coil the fiber in a ~6 inch diameter coil.

  - Use electrical tape to keep the coil together.

  - Carefully, secure the coiled fiber to an aluminum rod with a tie wrap (loosely).

  - Clean the fiber ferrule and FC bulkhead with appropriate cleaning supplies.

- Attach the 2-pin Subconn power whip [W20] [C33 & C34].

  - Use Type 44 Molykote on the female end of the whip and bulkhead connectors.

- Attach the aluminum protective cover for the J-Box.

  - Use tie wraps to secure to the lander.

- Double check all connections on the lander’s top endcap.

  - Gas port – check with a crescent wrench.

  - Fiber port – verify FC connector is screwed down all the way.

  - Electrical connectors – verify the locking sleeves are screwed down all the way.

- System check

  - Power up the entire BOSS system.

  - Verify that all nine video streams are present.

  - Verify that all five LEDs are working.

  - Verify that all of the contextual sensors are working.

  - Then power down system.

- Attach the 2 floatation halves at the top of the lander.

  - The two halves are mounted in a particular orientation and are labeled.

  - Carefully route the cables into the milled out grooves in the floatation pieces.

  - Secure with the large band clamp.

- Verify the other external electrical connections are secure.

  - Down light

  - Down camera

  - Altimeter/depth sensor

- Verify the winch’s WiFi antenna is screwed into the control box [C37].

- Secure all external cables to the lander with tie wraps.

Other

- The tote with the launch and recovery gear should be placed in a convenient location near the A-Frame, but out of the way of foot traffic.

  - This tote should be secured to the deck or bulkhead.

  - Verify the necessary gear is in the tote.

    - Two small football floats

    - One section of callum (yale) grip

- Storage totes should be either taken off board or stored in a forward (lower) compartment.

- Plug in the charging cable [W22] to the remote belly pack [C38 & C39].