Benthic Observation Survey System (BOSS) Maintenance

Chad Kecy

May 21, 2020

Already covered in Lander Recovery section

Inspecting for lander damage upon recovery

Rinsing off lander/tether upon recovery

Squirting distilled water on camera ports

Confirming cables are properly secured to lander with zip ties