## Displayed Data
Device | Data | Signal Type | On/Off Status Display | Data Display Location | Logged? | Notes
GPS | Ship Lat/Long | RS-232 | Touch Panel |  | Y | Shore Side Equipment
Compass | Lander Heading | RS-232 | Touch Panel | Multiple | Y | Local, Bridge, Winch Operator
Compass | Lander Pitch |  |  |  | Y
Compass | Lander Roll |  |  |  | Y
Altimeter | Lander Range to Seafloor | RS-232 | Touch Panel | Multiple | Y | Local, Bridge, Winch Operator
Altimeter | Lander Depth | RS-232 | Touch Panel | Multiple | Y | Local, Bridge, Winch Operator
RBR | Ocean Temp at Lander Depth | RS-232 |  |  | Y
Down Camera | Video | RS-170 Video (Coax) | Touch Panel | Multiple | Y | Local, Bridge, Winch Operator
Down Light | Light level | RS-232 | Touch Panel |  | Y
North Light | Light level | RS-232 | Touch Panel |  | Y
South Light |  |  | Touch Panel |  | Y
East Light |  |  | Touch Panel |  | Y
West Light |  |  | Touch Panel |  | Y
North Upper Camera | Video | HD-SDI | Touch Panel | Wide Screen Monitor(s) | Y | Recorded Topside
North Lower Camera | Video | HD-SDI | Touch Panel | Wide Screen Monitor(s) | Y | Recorded Topside
South Upper Camera | Video | HD-SDI | Touch Panel | Wide Screen Monitor(s) | Y | Recorded Topside
South Lower Camera | Video | HD-SDI | Touch Panel | Wide Screen Monitor(s) | Y | Recorded Topside
East Upper Camera | Video | HD-SDI | Touch Panel | Wide Screen Monitor(s) | Y | Recorded Topside
East Lower Camera | Video | HD-SDI | Touch Panel | Wide Screen Monitor(s) | Y | Recorded Topside
West Upper Camera | Video | HD-SDI | Touch Panel | Wide Screen Monitor(s) | Y | Recorded Topside
West Lower Camera | Video | HD-SDI | Touch Panel | Wide Screen Monitor(s) | Y | Recorded Topside
North Upper Camera | Shutter Speed | RS-485 |  |  | Y
North Lower Camera |  |  |  |  | Y
South Upper Camera |  |  |  |  | Y
South Lower Camera |  |  |  |  | Y
East Upper Camera |  |  |  |  | Y
East Lower Camera |  |  |  |  | Y
West Upper Camera |  |  |  |  | Y
West Lower Camera |  |  |  |  | Y
North Upper Camera | Video Gain | RS-485 |  |  | Y
North Lower Camera |  |  |  |  | Y
South Upper Camera |  |  |  |  | Y
South Lower Camera |  |  |  |  | Y
East Upper Camera |  |  |  |  | Y
East Lower Camera |  |  |  |  | Y
West Upper Camera |  |  |  |  | Y
West Lower Camera |  |  |  |  | Y
Instrument #1 | Data | RS-232 | Touch Panel |  | Y
Instrument #2 | Data | RS-232 | Touch Panel |  | Y
Instrument #3 | Data | RS-232 | Touch Panel |  | Y
Instrument #4 | Data | RS-232 | Touch Panel |  | Y
Winch | Tether Payout | RS-232 |  | Multiple | Y | Local, Bridge, Winch Operator

## Controls
Device | Data | Source | Signal Type | Notes
GPS | On/Off | Touch Panel | PLC - Dig Out | Shore side equipment
Compass | On/Off | Touch Panel | PLC - Dig Out
Altimeter | On/Off | Touch Panel | PLC - Dig Out
Altimeter | Measurement Range |  | RS-232 | ???? Should be one time only at start up
RBR | On/Off | Touch Panel | PLC - Dig Out
Down Light | On/Off | Touch Panel | PLC - Dig Out
Down Light | Light Level | Touch Panel | RS-232 | Multiple Buttons? 100%, 90%, 75% ??
North Light | On/Off | Touch Panel | PLC - Dig Out
South Light | On/Off | Touch Panel | PLC - Dig Out
East Light | On/Off | Touch Panel | PLC - Dig Out
West Light | On/Off | Touch Panel | PLC - Dig Out
North Light | Light level | Touch Panel | RS-232 | Multiple Buttons? 100%, 90%, 75% ??
South Light |  |  |  | N, S, E, W Dimming Together
East Light
West Light
Down Camera | On/Off | Touch Panel | PLC - Dig Out
North Upper Camera | On/Off | Touch Panel | PLC - Dig Out | Upper & Lower Together
North Lower Camera
South Upper Camera | On/Off | Touch Panel | PLC - Dig Out | Upper & Lower Together
South Lower Camera
East Upper Camera | On/Off | Touch Panel | PLC - Dig Out | Upper & Lower Together
East Lower Camera
West Upper Camera | On/Off | Touch Panel | PLC - Dig Out | Upper & Lower Together
West Lower Camera
North Upper Camera | Shutter Speed |  | RS-485 | All 8 Stereo Cameras Together
North Lower Camera
South Upper Camera
South Lower Camera
East Upper Camera
East Lower Camera
West Upper Camera
West Lower Camera
North Upper Camera | Video Gain |  | RS-485 | All 8 Stereo Cameras Together
North Lower Camera
South Upper Camera
South Lower Camera
East Upper Camera
East Lower Camera
West Upper Camera
West Lower Camera
Instrument #1 | On/Off | Touch Panel | PLC - Dig Out
Instrument #2 | On/Off | Touch Panel | PLC - Dig Out
Instrument #3 | On/Off | Touch Panel | PLC - Dig Out
Instrument #4 | On/Off | Touch Panel | PLC - Dig Out

## Ops Data
Bridge
Device | Data
Compass | Lander Heading
Altimeter | Lander Range to Seafloor
RBR | Lander Depth
Down Camera | Video
Winch | Tether Payout | ?
Winch Operator
Device | Data
Compass | Lander Heading | ?
Altimeter | Lander Range to Seafloor
RBR | Lander Depth
Down Camera | Video
Winch | Tether Payout

## Touch Panel
Touch Panel Controls (with colored, state feedback)
480VAC | On/Off | Ship+Lander
GPS | On/Off | Ship
Compass | On/Off | Lander
Altimeter | On/Off | Lander
Down Light | On/Off | Video
North Light | On/Off | Video
South Light | On/Off | Video
East Light | On/Off | Video
West Light | On/Off | Video
Down Camera | On/Off | Video
North Cameras | On/Off | Video
South Cameras | On/Off | Video
East Cameras | On/Off | Video
West Cameras | On/Off | Video
Instrument #1 | On/Off | Science
Instrument #2 | On/Off | Science
Instrument #3 | On/Off | Science
Instrument #4 | On/Off | Science
Stereo Cams REC | Start/Stop | Video (Ship)
Down Light | Dim: 100% | Video
Down Light | Dim: 90% | Video
Down Light | Dim: 75% | Video
Down Light | Dim: 50% | Video
Stereo Lights | Dim: 100% | Video
Stereo Lights | Dim: 90% | Video
Stereo Lights | Dim: 75% | Video
Stereo Lights | Dim: 50% | Video
Stereo Cams | Gain: -3 | Video
Stereo Cams | Gain: 0 | Video
Stereo Cams | Gain: 3 | Video
Stereo Cams | Gain: 6 | Video
Stereo Cams | Gain: 9 | Video
Stereo Cams | Gain: 12 | Video
Stereo Cams | Gain: 15 | Video
Stereo Cams | Gain: 18 | Video
Stereo Cams | Gain: 21 | Video
Stereo Cams | Gain: 24 | Video
Stereo Cams | Shutter: 1/30 | Video
Stereo Cams | Shutter: 1/60 | Video
Stereo Cams | Shutter: 1/90 | Video
Stereo Cams | Shutter: 1/120 | Video
Stereo Cams | Shutter: 1/150 | Video
Stereo Cams | Shutter: 1/180 | Video
Stereo Cams | Shutter: 1/250 | Video
Stereo Cams | ?? | Video
Stereo Cams | ?? | Video
Stereo Cams | Shutter: 1/40000 | Video

## OPC Data
OPC Displayed Data (on Laptop)
GPS | Ship Lat/Long | Ship
Compass | Lander Heading | Lander
Compass | Lander Pitch | Lander
Compass | Lander Roll | Lander
Altimeter | Lander Range to Seafloor | Lander
Altimeter | Lander Depth | Lander
Winch | Tether Payout | Tether/Lander
Down Light | Light Level | Lander
Stereo Cams | Shutter Speed | Video
Stereo Cams | Video Gain | Video
Stereo Lights | Light Level | Video
Instrument #1 | Data | Science
Instrument #2 | Data | Science
Instrument #3 | Data | Science
Instrument #4 | Data | Science