| Altimeter choice – complete one column only |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Material/depth/style |  |  |  |  | Connector | PA500/6 | PA200/20 |  | LPA200/10 |  |
| Check one only | Delrin 700m R/A |  |  |  | TIL 6 way | Ab-D-AS6164 | Ab-D-AS6868 |  |  |  |
|  | Delrin 700m Str. |  |  |  | TIL 6 way | D-D-AS2133 | D-D-AS2135 |  |  |  |
|  | Alum. 4000m R/A |  |  |  | TIL 6 way | Ab-A-AS4807 | Ab-A-AS3447 |  |  |  |
|  | Alum. 4000m Str. |  |  |  | TIL 6 way | A-A-AS5303 | A-A-AS4678 |  | A-A-AS4519 |  |
|  | S/S 4000m Str. |  |  |  | TIL 6 way | S-S-SS2125 | S-S-SS2127 |  |  |  |
|  | S/S 6,800m Str. |  |  |  | XSG-6-BCL | S-S-SS5301 | S-S-SS5300 |  | Special Whip Req. |  |
|  | Special connector |  |  |  |  | ? ? ? |  |  |  |  |
| one only | Pinouts |  |  |  | Tritech Standard |  |  |  |  |  |
|  |  |  |  |  | Non Standard* |  |  |  |  |  |
| Check one only | Timeout range |  |  |  | 200m |  |  |  |  |  |
|  |  |  |  |  | 100m |  |  |  |  |  |
|  |  |  |  |  | 50m |  |  |  |  |  |
|  |  |  |  |  | 10m |  |  |  |  |  |
| Check one only | Analog scaling (if required) |  |  |  | 0-200m |  |  |  |  |  |
|  |  |  |  |  | 0-100m |  |  |  |  |  |
|  |  |  |  |  | 0-50m |  |  |  |  |  |
|  |  |  |  |  | 0-30m |  |  |  |  |  |
|  |  |  |  |  | 0-20m |  |  |  |  |  |
|  |  |  |  |  | 0-15m |  |  |  |  |  |
|  |  |  |  |  | 0-10m |  |  |  |  |  |
|  |  |  |  |  | 0-5m |  |  |  |  |  |
|  |  |  |  |  | 0-2m |  |  |  |  |  |
| Power input/analog/serial output - complete one column only |  |  |  |  |  |  |  |  |  |  |
|  | Power supply (10.5 to 28VDC) |  |  |  | Specify actual supply VDC |  |  | # Note . TTL & current loop do not have a serial output (232/485) |  |  |
| Check one only | Analogue Voltage Output |  |  | none |  |  |  |  |  |  |
|  |  |  |  | 5V |  |  |  |  |  |  |
|  |  |  |  | 10V | supply must be >12.5VDC |  |  |  |  |  |
| Check one only | Serial and Current Output |  | none |  |  |  |  |  |  |  |
|  |  |  | 4-20mA |  | supply must be >15VDC |  |  |  |  |  |
|  |  |  | RS232 |  |  |  |  | RS485 termination |  |  |
|  |  |  | RS485 |  |  |  |  | ?_______ |  |  |
| Other options |  |  |  |  |  |  |  |  |  |  |
| Check one only in each row |  | No return output |  |  | Zero | Full range | # TTL Trigger |  |  |  |
|  |  |  |  |  |  |  | ### Must be full range |  |  |  |
|  |  | Mode |  |  | Free run | Z Interrogate | Timeout |  |  | Ascii address (A-H) |
|  |  |  |  |  |  |  | #### No timeout |  |  |  |
|  |  | Serial message |  |  | xxx.xxxm<CR><LF> | xxx.xxm<CR><LF> | xx.xxxm<CR><LF> |  |  | Xxx.xxxm<CR><LF> |
|  |  |  |  |  |  |  |  |  |  | Character ?___ |
| Tritech mating connector if used |  |  |  |  | Straight | Right angle | Tail length |  |  |  |
|  |  |  |  |  |  |  | N/A |  |  |  |
| Customer |  |  |  |  |  |  |  |  |  |  |
| Extra notes and *Non Standard Pinouts |  |  |  |  |  |  |  |  |  |  |

SW1

| Mode | 6 | 5 | 4 | 3 | 2 | 1 |  | Mode | 6 | 5 | 4 | 3 | 2 | 1 |  | SubNode |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | DEBUG IN ZNE | 32 | 1 | 0 | 0 | 0 | 0 | 0 | LAN IN ZNE | A |
| 1 | 0 | 0 | 0 | 0 | 0 | 1 | DEBUG FR ZNE | 33 | 1 | 0 | 0 | 0 | 0 | 1 |  | B |
| 2 | 0 | 0 | 0 | 0 | 1 | 0 | DEBUG IN MNE | 34 | 1 | 0 | 0 | 0 | 1 | 0 |  | C |
| 3 | 0 | 0 | 0 | 0 | 1 | 1 | DEBUG FR MNE | 35 | 1 | 0 | 0 | 0 | 1 | 1 |  | D |
| 4 | 0 | 0 | 0 | 1 | 0 | 0 | 3P3 IN ZNE | 36 | 1 | 0 | 0 | 1 | 0 | 0 |  | E |
| 5 | 0 | 0 | 0 | 1 | 0 | 1 | 3P3 FR ZNE | 37 | 1 | 0 | 0 | 1 | 0 | 1 |  | F |
| 6 | 0 | 0 | 0 | 1 | 1 | 0 | 3P3 IN MNE | 38 | 1 | 0 | 0 | 1 | 1 | 0 |  | G |
| 7 | 0 | 0 | 0 | 1 | 1 | 1 | 3P3 FR MNE | 39 | 1 | 0 | 0 | 1 | 1 | 1 |  | H |
| 8 | 0 | 0 | 1 | 0 | 0 | 0 | 2P3 IN ZNE | 40 | 1 | 0 | 1 | 0 | 0 | 0 | LAN IN MNE | A |
| 9 | 0 | 0 | 1 | 0 | 0 | 1 | 2P3 FR ZNE | 41 | 1 | 0 | 1 | 0 | 0 | 1 |  | B |
| 10 | 0 | 0 | 1 | 0 | 1 | 0 | 2P3 IN MNE | 42 | 1 | 0 | 1 | 0 | 1 | 0 |  | C |
| 11 | 0 | 0 | 1 | 0 | 1 | 1 | 2P3 FR MNE | 43 | 1 | 0 | 1 | 0 | 1 | 1 |  | D |
| 12 | 0 | 0 | 1 | 1 | 0 | 0 | 3P2 IN ZNE | 44 | 1 | 0 | 1 | 1 | 0 | 0 |  | E |
| 13 | 0 | 0 | 1 | 1 | 0 | 1 | 3P2 FR ZNE | 45 | 1 | 0 | 1 | 1 | 0 | 1 |  | F |
| 14 | 0 | 0 | 1 | 1 | 1 | 0 | 3P2 IN MNE | 46 | 1 | 0 | 1 | 1 | 1 | 0 |  | G |
| 15 | 0 | 0 | 1 | 1 | 1 | 1 | 3P2 FR MNE | 47 | 1 | 0 | 1 | 1 | 1 | 1 |  | H |
| 16 | 0 | 1 | 0 | 0 | 0 | 0 | V3BATHY IN ZNE | 48 | 1 | 0 | 0 | 0 | 0 | 0 | DLE IN ZNE | 0 |
| 17 | 0 | 1 | 0 | 0 | 0 | 1 | NMEA FR ZNE | 49 | 1 | 1 | 0 | 0 | 0 | 1 |  | 1 |
| 18 | 0 | 1 | 0 | 0 | 1 | 0 | NMEA FR MNE | 50 | 1 | 1 | 0 | 0 | 1 | 0 |  | 2 |
| 19 | 0 | 1 | 0 | 0 | 1 | 1 | TSS FR ZNE | 51 | 1 | 1 | 0 | 0 | 1 | 1 |  | 3 |
| 20 | 0 | 1 | 0 | 1 | 0 | 0 | TSS FR MNE | 52 | 1 | 1 | 0 | 1 | 0 | 0 |  | 4 |
| 21 | 0 | 1 | 0 | 1 | 0 | 1 |  | 53 | 1 | 1 | 0 | 1 | 0 | 1 |  | 5 |
| 22 | 0 | 1 | 0 | 1 | 1 | 0 |  | 54 | 1 | 1 | 0 | 1 | 1 | 0 |  | 6 |
| 23 | 0 | 1 | 0 | 1 | 1 | 1 |  | 55 | 1 | 1 | 0 | 1 | 1 | 1 |  | 7 |
| 24 | 0 | 1 | 1 | 0 | 0 | 0 |  | 56 | 1 | 1 | 1 | 0 | 0 | 0 | DLE IN MNE | 0 |
| 25 | 0 | 1 | 1 | 0 | 0 | 1 |  | 57 | 1 | 1 | 1 | 0 | 0 | 1 |  | 1 |
| 26 | 0 | 1 | 1 | 0 | 1 | 0 |  | 58 | 1 | 1 | 1 | 0 | 1 | 0 |  | 2 |
| 27 | 0 | 1 | 1 | 0 | 1 | 1 |  | 59 | 1 | 1 | 1 | 0 | 1 | 1 |  | 3 |
| 28 | 0 | 1 | 1 | 1 | 0 | 0 |  | 60 | 1 | 1 | 1 | 1 | 0 | 0 |  | 4 |
| 29 | 0 | 1 | 1 | 1 | 0 | 1 | DIGTRIG MNE | 61 | 1 | 1 | 1 | 1 | 0 | 1 |  | 5 |
| 30 | 0 | 1 | 1 | 1 | 1 | 0 | DIGTMO MNE | 62 | 1 | 1 | 1 | 1 | 1 | 0 |  | 6 |
| 31 | 0 | 1 | 1 | 1 | 1 | 1 | SONV3 | 63 | 1 | 1 | 1 | 1 | 1 | 1 |  | 7 |

IN = INTERROGATE		MNE = MAX NO ECHO		0 = OFF

FR = FREE RUN			ZNE = ZERO NO ECHO		1 = ON

SW2

| SW2-1 | LOCKOUT |  | SW2-4 | SW2-3 | SW2-2 | Analog scaling |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 500kHz/10m only |  | 1 | 1 | 1 | 2m |
| 0 | Standard |  | 1 | 1 | 0 | 5m |
|  |  |  | 1 | 0 | 1 | 10m |
| SW2-6 | SW2-5 | RANGE/FREQ | 1 | 0 | 0 | 15m |
| 1 | 1 | 500kHz/10m | 0 | 1 | 1 | 20m |
| 1 | 0 | 500kHz/50m | 0 | 1 | 0 | 30m |
| 0 | 1 | 200k/Hz/50m | 0 | 0 | 1 | 50m |
| 0 | 0 | 200kHz/100m | 0 | 0 | 0 | 100m |

Notes

For serial control (non LAN settings)	Interrogate character =Z

Switch from interrogate to free run = F	Switch from free run to interrogate = Z (RS232 only)

For ASCII LAN control	Interrogate = address character (e.g. A)

Interrogate all = *  with 26msec delay between replies      For DIGTMO mode timeout=200msec