## Sheet1
192.168.1.10
Sub-Surface Inputs |  |  |  |  | Sub-Surface Outputs
Signal Name | module | Bit | Click Address | Notes | Signal Name | module | Bit | Click Address | Notes
Lights On North | 0 | X1 | X001 | State Feedback |  | 0 | Y1 | Y001 | Spare
Lights On South | 0 | X2 | X002 | State Feedback |  | 0 | Y2 | Y002 | Spare
Lights On East | 0 | X3 | X003 | State Feedback |  | 0 | Y3 | Y003 | Spare
Lights On West | 0 | X4 | X004 | State Feedback |  | 0 | Y4 | Y004 | Spare
Lights On Down | 0 | X5 | X005 | State Feedback |  | 0 | Y5 | Y005 | Spare
Sensors On | 0 | X6 | X006 | State Feedback |  | 0 | Y6 | Y006 | Spare
| 0 | X7 | X007 | Spare
Water alarm | 0 | X8 | X008
C0-08TD1
[5 empty] | Camera On/Off north | 1 | Y1 | Y101 | North Pair
[5 empty] | Camera On/Off south | 1 | Y2 | Y102 | South Pair
[5 empty] | Camera On/Off east | 1 | Y3 | Y103 | East Pair
[5 empty] | Camera On/Off west | 1 | Y4 | Y104 | West Pair
[5 empty] | Camera On/Off down | 1 | Y5 | Y105
[5 empty] | record/stop | 1 | Y6 | Y106 | All Cameras
[5 empty] | Take still | 1 | Y7 | Y107 | All Cameras
[5 empty] | Focus | 1 | Y8 | Y108 | For still only
C0-08TD2
[5 empty] | Lights On North | 2 | Y1 | Y201
[5 empty] | Lights On South | 2 | Y2 | Y202
[5 empty] | Lights On East | 2 | Y3 | Y203
[5 empty] | Lights On West | 2 | Y4 | Y204
[5 empty] | Lights On Down | 2 | Y5 | Y205
[5 empty] | Sensors On | 2 | Y6 | Y206 | All sensors
[5 empty] | Encoders On | 2 | Y7 | Y207
[6 empty] | 2 | Y8 | Y208 | Spare