nsFOCE System Bench Test Plan

08/20/2018 – 08/31/2018

Chad Kecy, Dale Graves

- Dry Test (08/16/2018)

  - 25 Meter input cable should be attached

  - Grease all instrument connectors with type 44 Molykote

  - Plug in all external instruments

  - Power up and confirm proper operation of all instruments

    - pH #1

    - pH #2

    - pH #3

    - pH #4

    - CTD Chamber

    - CTD Ambient

    - Pump Chamber

    - Pump Ambient

    - Thruster

    - Valve

    - RTD reading

- Prep for Test Tank

  - Work station

    - 375Vdc power supply

    - Laptop with Labview

    - Tie wraps for securing main cable

  - Unplug all external instruments

    - Use dummy plugs on unused connections

  - Fill Wago housing with oil

  - Attach sensors to stands

  - Attach Wago housing to stand

  - Plug in all external instruments

  - Secure (and coil) any excess cabling

  - Attach large tubing to the underwater chamber

  - Attach all systems onto a plastic pallet

    - Same physical configuration as real deployment, if possible

  - Attach line to pallet to allow it to set on bottom without leaving crane attached

  - Verify main cable is flaked out properly for ease of lowering into tank

  - Remove pH probe storage (acid) bottles

- Test Tank (08/20/2018)

  - Lower pallet into the tank

  - Power up and confirm proper operation of all instruments

  - Lower pallet to the bottom of the tank

  - Leave thruster operating at _________RPM

- Pull out of tank on Tuesday September 4th.