## Sheet1
DIC test system
draft 5/21/2018
| Solonoid Valves | [6 empty] | Pumps
Description | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 1 | 2 | 3 | 4 | 5 | Notes
Standard Calibration, gas to vent |  |  |  |  | x |  | x | x
Air Cal and system purge | [6 empty] | x | x
Air Cal and chamber purge |  | x |  |  |  | x |  | x
zero cal |  |  | x | x |  | x |  | x |  |  |  |  | zeros entire flpw path
presureize gas system |  |  |  | x |  | x |  | x |  |  |  |  | fills chamber with 3 psi zero air
seawater purge | [11 empty] | x | flush intake line with seawater
fill seawater sample | [9 empty] | x |  | x | fills metering vol with seawater
drain seawater sample system | 1 | [7 empty] | x |  |  |  | pushes metering vol into chamber
fill seawater sample | [9 empty] | x |  | x | fills metering vol with seawater
drain seawater sample system | 1 | [7 empty] | x |  |  |  | pushes metering vol into chamber
fill seawater sample | [9 empty] | x |  | x | take actual sample
presureize gas system |  |  |  | x |  | x |  | x |  |  |  |  | drains out chamber
vent pressure, transfer sample into chamber | x | x | [6 empty] | x |  |  |  | dumps pres in chamber, pumps in sample
acid inject |  | x | [8 empty] | x
measure DIC |  |  | x |  |  | x |  | x |  |  |  |  | integration method
discard seawater sample | [5 empty] | x |  | x |  |  |  |  | pressurizes chamber and vents out cv4
air purge |  | 2 |  |  |  | x |  | x |  |  |  |  | vents out high co2 gas to atm
done | [12 empty] | rest state