## Slide 1
Ocean Biogeochemical Sensing Team
Help build a global biogeochemical observing system with profiling floats and gliders

## Slide 2: OBS team new member Ben Werb (Feb 12)

## Slide 3: Main Objectives
Spray2 with pH
  Production led by Ben Werb
  SIO (April)
  WHOI (April)
  OSU (send controller for integration Feb)
  LOC-NESS (August 11-15)
Spray2 with nitrate
  Production/development led by Joe Warren
  Coordinate with SIO for integration
  Deliver 5 to WHOI by nov

## Slide 4
Spray2 with pH
Spray2 with nitrate
NanoFET for LRAUV (2 units)
LOC-NESS
Oct Santa Barbara cruise
BEAMS support for KAUST and AOML
Organic Alkalinity from field samples
pH/TA sensor development
SURpH on gliders and floats
MBARI glider operations (CCS ROMS, diel cycle)
pH on WireWalkers
NanoFETv2 development
Float database development (Collab with Chem Sensor lab)

## Slide 5
BGC Spray/Underwater Gliders
Work towards six parameter BGC gliders and linking BGC-Argo array to the coast
CO2 Thermodynamics
How do we get more accurate estimates of pCO2 from pH sensors on profiling platforms?
GO-BGC/BGC-Argo
Develop sensing & analytical techniques for BGC-Argo
Coastal Ecosystem Dynamics
Develop sensors and systems to accurately monitor changes in highly dynamic systems

## Slide 6
~90 deployed in 2023

## Slide 7
~70 planed in 2024 so far

## Slide 8: Honeywell ISFET production
Announced ISFET discontinuation June, 2022
Intervention from various government agencies got Honeywell to restart production!!
Seabird has received new set of ISFETs, and performance is good

## Slide 9: pH optode ‘Pico pH’
R1
R2
pKa
slope

## Slide 10: Field results from Spray glider
Original Foil,
Response time: 400-800 seconds
February 2023
Fast response Foil,
Response time: 20-40 seconds
July 2023

## Slide 11: SURpH Sensor (ISFET)

## Slide 12: First test on Spray looks very promising
Profiles at M2

## Slide 13
Flow Path
Plenum
Sensing Foil
SBS83: a pumped and air-calibratable oxygen optode
In pumped flow stream for faster response time
At surface, plenum drains exposing sensing foil to atmosphere for ai-calibrations

## Slide 14: 11 deployed worldwide
All sensors seem to be working well so far
8 in GDAC
3 TripleO2 floats

## Slide 15
Quantifying Response Time in Lab

## Slide 16
Gain ranged by an order of magnitude globally
Large, seasonal amplitude in gain correction

## Slide 17: Accurate pCO from floats?
Float

## Slide 18: Organic Alkalinity (Lenka)
Completed experiments demonstrating 2-4 umol/kg of organic alkalinity is consistently found in natural seawater, including M2
Results will be presented in Ocean Sciences, and UCSC seminar (March?)
Profile at M2

## Slide 19
Nitrate
pH
Chla Fluor.
Back-
scatter
Oxygen
Irradiance
Notes: These are the 6 parameters that BGC-Argo

## Slide 20: BGC sensors on gliders

## Slide 21
CTD
pH
(Chl-a)
Takeshita et al. 2021

## Slide 22: Radiometer
4-parameter Glider!
  O2
  Chl-fl
  pH
  Downwelling Irradiance

## Slide 23: Spray2
Larger, more capacity
Designed for 6 BGC parameters
  SBS63 (O2)
  Chl Fluorometer (Seapoint)
  Backscatter (FLBB/Seapoint)
  OCR-504
  ISFET pH
  Mini-ISUS

## Slide 24: Modular pH sensor (NanoFET)
pH Electronics
Power, RS232
Same pH sensing element as Deep-Sea-DuraFET
Neutral/positively buoyant
Updated electronics
  1Hz sampling
  ~0.4 J/sample
  Bias battery lasts >1 year
Delivered first unit to SIO Q4 of 2023!
Can use SURpH sensors soon

## Slide 25: Mini-ISUS
Mostly same components as ISUS
  Smaller lamp
Neutrally buoyant
~14” long, 2.5” diameter
External power, RS232
>1 year delay from COVID
Aiming for field testing by mid 2024

## Slide 26
Todd et al. 2016
Rudnick et al. 2016
6 pH + Nitrate gliders over 3 years (2025-2027)
4 pH gliders over 2 years
(2024-2025)

## Slide 27: California Current: Improve Model Performance
Mattern, Edwards, unpublished data
Large Spatial impact!!
(Model – glider)

## Slide 28
Mattern, Edwards, unpublished data

## Slide 29: Schedule
First pH sensor delivered to SIO, Q4 2023. Firmware integration almost complete. First test deployment with pH projected March 2024.
Mini-ISUS delivery projected June/July 2024. Firmware integration has started with mock controller.
WHOI/MRV Spray2 test deployment: August 2024
Ocean Alkalinity Enhancement experiment (LOCNESS) August 2025 (5x Spray2s with pH)
2025: 2x BGC Spray2 (pH + nitrate) in SCOOS + CeNCOOS

## Slide 30: pH sensor production 2024
3-4 units: WHOI/MRV (Depends on MRV’s Spray2 delivery)
3 units: MBARI (2 Sprays, 1 LRAUV)
1 unit: SIO (maybe)
Maybe 1 unit: OSU
If we have bandwidth: 2 for WireWalkers (Humboldt, MBARI)

## Slide 31: Sensor production in 2025 and beyond (so far)
2025
2x pH to WHOI
2x pH + 2x NO3 to SIO (split SCOOS/CeNCOOS)
2026
2x pH + 2x NO3 to SIO (split SCOOS/CeNCOOS)
2027
2x pH + 2x NO3 to SIO (split SCOOS/CeNCOOS)

## Slide 32: NanoFETv2
Shrink the current pH sensor -> led by Irene
  Target: Size of Seabird 5M or 5P pump
Test on MBARI Spray maybe by end of year
Phase them in to Spray2 network in 2025-?
pH Electronics
Power, RS232

## Slide 33: Synchro
Combine imaging with passive acoustics
Target: April ~18 with Chavez Cruise (most likely)
LRAUV + Planktivore
Spray + passive acoustics

## Slide 34: PIE (PCO2 Intercomparison Experiment)
Show animation in Google Earth

## Slide 35
67-90
150 m dives (~hourly)
10 days
67-75
M2

## Slide 36
Surface 5 m

## Slide 37
Surface 5 m

## Slide 38
Surface 5 m
Hourly Variability

## Slide 39: Wire Walker pH

## Slide 40
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Deliver mini-ISUS to SIO
Chem sensor Cruise?
Synchro Glider
2024 timeline
THOON WW deployment?
Spray29 science deployments (Line 67, diel cycles)
PIE (Spray + Tiny) SN34
PIE (Spray + Tiny) SN34
SURpH in NanoFET ?
OAE test cruise with Spray2
NanoFETv2 Electronics prototype
Test NanoFETv2 SN29
Deliver first NanoFET MRV/WHOI
Spray missions
Resolve ground fault issue
Spray29 science deployments (Line 67, diel cycles)
Spray2 pH test deployment WHOI
Spray2 pH SIO