mFET/mCAP Rev 2 (Q1 2019)

mFET

- Capability of communicating with Aanderaa O2 optode (5V + RS232)

- SDcard holder -> latches

mCAP

- Move to single battery pack for bias

- Measure bias battery pack voltage

Conductivity board (Start design criteria discussion end Q1 2019)

  - Gain, frequency, and 3rd paramter (get back to you) should be programmable

  - Start Q1/Q2, Finish R2 by end of year

BEAMS board (Q3-4)

- BEAMS (gradient flux board)

  - Use mCAP board to drive Durafet pH

  - Use same microcontroller as mFET, as much common as mFET

  - Communicate with Aanderaa O2 optode (as mFET)

  - Communicate with SBE37 microcat (power + RS232)

  - Powered with Li primary 3S

  - 3 power switches (IO controlled) -> 500 mA continuous (SBE 5P pumps)

    - Voltage regulation (~9V)

  - RS232 channel

  - A/D channel (PAR (light) sensor)

    - Use internal or extra ADC; tbd

  - pH voltage should not be biased when pump is on

    - Should we use mFET/mCAP R2 boards to prototype/test this? Or develop BEAMS board directly?