Form factor:

Match SIO seapHOx with dimension and mounting

Hardware Features:

- Copy current seapHOx board

  - Processor TM4C123GH6PGEI

  - Conserve pin utilization as much as possible

- Real Time Clock

  - Accuracy

  - Self powered

- Serial Interface

  - 5 ports

  - RX and TX

  - Transceiver power managed

  - Console able to wake processor from hibernation

  - Console

  - Microcat

  - Optode

  - Auxiliary 1 and 2

- SD card

- DIC Shield interface

  - I2C

  - SSI

  - 6 GPIO

  - 2 PWM/GPIO

- CAP adapter interface

  - Isolated power

    - ISFET bias current

    - +/- 3.75

  - Communications

    - Isolated SSI

  - Interface power

- External Power control

  - 2 ports

    - Battery only

    - 1 Amp

    - Slow start

    - Electronic breaker

    - MicroCAT

    - SBE Pump

  - 2 ports

    - Battery or 5V

    - 1 Amp

    - Slow start

    - Electronic breaker

    - Auxillary 1 and 2

  - 1 port

    - 5 V only

    - 1 Amp

    - Slow

    - Optode power

- Housing internal Environmental Sensors

  - Pressure (0 – 30 psia)

  - Temperature (0-100C)

  - Humidity (5-95%)

  - Water Alarm (No/Yes water present)

  - Battery Voltage

  - System Current

- Indicators

  - Functional only when in lab

  - Power supplies

  - 2 definable

- Processor reset

  - External

  - Internal