Updates to Spray

mFET firmware updates

- Report Ik as nA (150uv = 1nA)

- Report Ib as nA (1mV = 1nA)

- Measure bias battery + and – (how much extra time will this cost?)

  - Question to all: Should we install a single Li D cell instead? That will last > 5 years or so of continuous use, so we can just forget about it, rather than replacing AA every year.

Spray firmware updates

- Why were different firmwares loaded onto 029 and 034 again?

- make pump on 2 minutes before ascent consistent across all firmwares

- For sat files, multiply std devs by 1000 so they report as mV, rather than V.

- Can we send back an extra decimal precision?