Deployment details:  Mission ID: 19202901

Shore Station: through UCSD and npzd.  Text based only on npzd

Dates :  Tues 3/26/19 – Wed 3/27/19

Dives:  21

Deployed and recovered from Paragon

Deployed: 26 Mar 2019 16:57 1 +36 48.16 -121 51.53

Recoverd: 27 Mar 2019 15:41 1 +36 47.29 -121 49.75

Spray flew C1-M1-C1 gradually getting deeper.  First pH profiles looked like there were parsing problems.  The pH micro SD card has all the data though.  On dive 4 the SBE63 and Flourometer started experiencing problems.  Turned around and headed home shortly after