Deployment details:  Mission ID: 19402901
Shore Station: through UCSD and npzd.  Text based only on npzd
Dates :  Tues 4/2/19 – Fri 5/3/19; 31 days
Dives:  227, max depth 1000m
Deployed and recovered from Paragon

Deployed: 02 Apr 2019 16:53  +36 48.14 -121 51.69
Recoverd: 03 May 2019 17:52  +36 44.93 -122  1.49

[bookmark: _GoBack]Summary:  Spray left Moss and headed out passed M1 where it could do 1km dives.  It then headed North to Francisco Whale to do a coincident CTD cast with the WF.  It then went to 67_80 on line 67 and back to M1 where it met the Paragon for a final 500m CTD cast.


Coincident CTD casts:
 WF on 4/10/19 at Francisco Whale
 Paragon on 5/3/19 at M1


Issues:
1.  pH parsing error at start of shallow dives
2. differing profile point numbers
3. Weird GPS rollover on dive 35
4. multiple sat packets sent (though I just think this is because session was dicey e.g. sea surface state (edited) 

5.  Mechanical offset at 800m for pH?






