Deployment details:  Mission ID: 19502901
Shore Station: through UCSD and npzd.  Text based only on npzd
Dates :  5/7/19-5/17/19
Dives:  83, max depth 1000m
Deployed and recovered from Paragon

Deployed: 7 May 2019 17:17 1 +36 47.58 -121 53.44
Recovered: 17 May 2019 16:19 1 +36 44.64 -122  1.92

Summary:  Spray left Moss and headed out passed M1 where it could do 1km dives.  We noticed low voltage on the batteries so turned her around and recovered near M1  


Coincident CTD casts:
 WF on 5/16/19 close to M2
 WF on 5/11/19 close to M2


Issues:
1.  pH parsing error at start of shallow dives
2. differing profile point numbers
3. Low batteries
[bookmark: _GoBack]4. Light intrusion into pH cell, causing pH values to be biased high.
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