[bookmark: _GoBack]Deployment details:  Mission ID: 19502902
Shore Station: through UCSD and npzd.  Text based only on npzd
Dates :  5/28/19-6/10/19
Dives:  190, max depth 500m
Deployed and recovered from Paragon

Deployed: 28 May 2019 18:27 1 +36 47.66 -121 50.46
Recovered: 10 Jun 2019 16:20 1 +36 47.67 -121 49.77

Summary:  Spray left Moss and headed out passed M1 where it could do a few 500m dives.  It then went to DEIMOS and set up in a 200m back and forth pattern for the duration of Spring 19 CANON.  It then did a few more 500m dives on the way back to M1.  Recovered near C1

Coincident CTD casts:
 WF Spring 19 CANON


Issues:
1.  pH parsing error at start of shallow dives
2. differing profile point numbers
3. Low batteries
4.  Air vent pump not priming hydraulic pump
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