Deployment details:  Mission ID: 19702901
Shore Station: through UCSD and npzd.  Text based only on npzd
Dates :  7/16/19-9/5/19
Dives:  793, max depth 1000m
Deployed and recovered from Paragon

Deployed: 16 Jul 2019 17:24 1 +36 47.82 -121 50.98
Recovered: 05 Sep 2019 15:34 1 +36 47.80 -121 50.49   

[bookmark: _GoBack]Summary:  Spray left Moss and headed out passed M1 where it could do a few 1000m dives.  Carson met the Spray and did a simultaneous CTD cast.  Spray then flew M2-67.90-M2-M1-C1.  Spray hung out at C1 for the remainder of the mission

Coincident CTD casts:
 July 17 Carson


Issues:
1.  Unstable backscatter
2.  Air vent pump not priming hydraulic pump.  Hydraulic pump recovery required a few times.  
3.  Bad pH dives 338, 451, 454, 455, 457, 469, 695.  Most likely a pH hardware issue as it’s microSD card read bad data too.
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