Deployment details:  Mission ID: 19A02901

Shore Station: through UCSD and npzd.  Text based only on npzd
Dates :  10/01/19-9/5/19
Dives:  126, max depth 800m
Deployed and recovered from Paragon

Deployed: 01 Oct 2019 17:09 1 +36 48.05 -121 51.36
Recovered: 14 Oct 2019 16:45 1 +36 47.46 -121 53.69   

[bookmark: _GoBack]Summary:  Spray left Moss and headed out to MARS and performed a few 800m calibration dives.  It then remained 3km west of MARS for the duration of the CANON experiment.  Spray then went to M1 and performed two calibration dives to ~700m.  Recovered west of C1.

Coincident CTD casts:
 A few during CANON.  Consult CANON cruise log.

Issues:
Dive 28: something got sucked in around 300 m. 
Dive 89: bad salinity ~300-400 m
Air vent pump not working.  
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