Deployment details:  Mission ID: 19A02901

Shore Station: through UCSD and npzd.  Text based only on npzd

Dates :  10/01/19-9/5/19

Dives:  126, max depth 800m

Deployed and recovered from Paragon

Deployed: 01 Oct 2019 17:09 1 +36 48.05 -121 51.36

Recovered: 14 Oct 2019 16:45 1 +36 47.46 -121 53.69

Summary:  Spray left Moss and headed out to MARS and performed a few 800m calibration dives.  It then remained 3km west of MARS for the duration of the CANON experiment.  Spray then went to M1 and performed two calibration dives to ~700m.  Recovered west of C1.

Coincident CTD casts:

A few during CANON.  Consult CANON cruise log.

Issues:

Dive 28: something got sucked in around 300 m.

Dive 89: bad salinity ~300-400 m

Air vent pump not working.