20202901 deployment notes Yui

- Profile 52 (sample 109/110(sampnum 26612), and sample 381/382 (sampnum 26340)), and profile 211 (sample 504/505, samplenum 127205) had duplicate pH data in them, i.e. save the same pH reply twice in a row.

  - Verified that a new pH line was recorded in the pH sd card.

- pH data in .raw2 file is only saved to %1.4f. If we could save it to %1.6 f and solve the bug above, then we could eliminate the need for matching the pH data to the CF2 data, and speed up the processes.

- Pump was not turned on early enough; fix bug for next deployment.