To dos before next deployment

- Check SD card for ADC counts for fluorometer

- Change output of pH controller to match 029 output (parsing issue)

- Upload firmware to measure both up/down.

  - DONE 9/1/2020

- Swap out pH sensor to SBE-pcomp prototype

  - DONE end of AUG/2020

- Put in tank, get cal for pH + O2

- Store full resolution pH data on CF card

  - Not done this time