Debugging for pH data 22303401

The main symptom/problem with this deployment was that the pH controller kept going out of ‘deployment’ mode, and back to the ‘main menu’ mode. This was apparent in the pH controller .txt file, where metadata were rewritten many times (>100) during the deployment.

For most cases, line ‘80’ had 2 more entries than line ‘ba’ for a given profile. Just by looking at some of the profiles, it seemed like this error occurred at the beginning of the ascent profile.

Exceptions:  two dives did not 2 extra line ‘80’s than ‘ba’s: 129 and 207:

Profile 129:

Line 366554: ‘80’ line exists without a prior ‘ba’. The sample number is taken from line 366540, two samples before then

Line 366557: same issue. No associated ‘ba’ line.

Profile 207:

Line 752744: 80 without a ‘ba’ directly prior.

Dive numbers where number of line ‘80’s were 2 higher than line ‘ba’s.

6

9

10

12

13

14

15

20

23

24

29

30

31

33

36

37

39

40

44

47

51

52

55

56

57

58

59

61

62

63

67

69

70

72

73

74

78

81

82

83

88

90

91

93

94

96

97

98

100

102

103

105

111

116

117

118

119

121

123

127

130

131

133

134

136

137

138

141

142

143

144

145

147

149

150

155

157

161

164

167

168

169

171

172

177

178

179

181

182

184

186

189

190

192

195

196

198

199

200

201

208

209

212

213

215

216

218

221

222

223