Debugging for pH data 22303401

[bookmark: _GoBack]	The main symptom/problem with this deployment was that the pH controller kept going out of ‘deployment’ mode, and back to the ‘main menu’ mode. This was apparent in the pH controller .txt file, where metadata were rewritten many times (>100) during the deployment.  



For most cases, line ‘80’ had 2 more entries than line ‘ba’ for a given profile. Just by looking at some of the profiles, it seemed like this error occurred at the beginning of the ascent profile.  


Exceptions:  two dives did not 2 extra line ‘80’s than ‘ba’s: 129 and 207: 
Profile 129:
Line 366554: ‘80’ line exists without a prior ‘ba’. The sample number is taken from line 366540, two samples before then
Line 366557: same issue. No associated ‘ba’ line.

Profile 207:
Line 752744: 80 without a ‘ba’ directly prior. 






Dive numbers where number of line ‘80’s were 2 higher than line ‘ba’s. 
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