Deployment details:  Mission ID: 24A03401

Shore Station: through UCSD and bog-fire.  Text based only on bog-fire

Dates:  10/22/24 – 10/31/24

Dives:  67

Deployed and recovered from Paragon

Mission Objectives:

500 m, 60 minute loiter dives near MARS with the Accusonde PAM.

Notes: CTD on glider 034 needs to be recalibrated. All salinity data from this deployment is flagged in QC.