Deployment details:  Mission ID: 24A03401
Shore Station: through UCSD and bog-fire.  Text based only on bog-fire
Dates:  10/22/24 – 10/31/24
Dives:  67
Deployed and recovered from Paragon
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Mission Objectives:
500 m, 60 minute loiter dives near MARS with the Accusonde PAM.
Notes: CTD on glider 034 needs to be recalibrated. All salinity data from this deployment is flagged in QC.
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