## Sheet1
valnum | depid | divenum | cast_filename | filetype | castnum | calib_notes | comments
1 | 19402901 | 56 | Worden_WF_Francisco_whale.csv | 2 | 1 | WF, Worden Cruise | Light intrusion, white pump cap, TA estaimted from liar, no Chl
2 | 19402901 | 219 | BOG_12219.csv | 2 | 2 | BOG M1 | Light intrusion, white pump cap
3 | 19402901 | 227 | 19402901_paragon_recovery.csv | 2 | 1 | Recovery cast Paragon | Light intrusion, white pump cap, no Chl
4 | 19502901 | 37 | C3PO_May_Btl_master_V4.csv | 1 | 4 | C3PO1_SPRAY1 | Light intrusion, only through tubing
5 | 19502901 | 74 | C3PO_May_Btl_master_V4.csv | 1 | 29 | C3PO1_SPRAY2
6 | 19502901 | 73 | C3PO_May_Btl_master_V4.csv | 1 | 30 | C3PO1_SPRAY2
7 | 19502902 | 60 | CN19S_BCTD.csv | 2 | 14 | CANONS19_14 | No light problems from now on; 61 could be closer
8 | 19502902 | 67 | CN19S_BCTD.csv | 2 | 17 | CANONS19_17
9 | 19502902 | 71 | CN19S_BCTD.csv | 2 | 19 | CANONS19_19
10 | 19702901 | 26 | BOG_19919.csv | 2 | 2 | BOG M1 | very sensitive to dive number. 24/25/26
11 | 19702901 | 72 | C3PO2_Btl_master_post_cruise_V3_with_derived.csv | 1 | 38 | C3PO2 67_70
12 | 19702901 | 70 | C3PO2_Btl_master_post_cruise_V3_with_derived.csv | 1 | 39 | C3PO2 67_70 | Very bad agreement. Why are the dive nums different?
13 | 19A02901 | 42 | CN19F_BCTD.csv | 2 | 11 | CANON_2 | could be dive 43
14 | 19C02902 | 29 | BOG_35019.csv | 2 | 3 | BOG M1 or M2?
15 | 20703401 | 77 |  | 2 | 3 | BOG M2 | First Spray34; SBE10330
16 | 20702901 | 455 | BOG_23420.csv | 2 | 2 | BOG M1
17 | 20A03401 | 181 or 182 | CANON 2020 fall | 2 |  | CANON C1
18 | 20A02901 | 151 | CANON 2020 fall | 2 |  | CANON M1
19 | 20A03401 | 292 or 293 | tbd | 2 | 1 | Recovery cast Paragon | 292 is closer in location, but farther away in time, no Chl
20 | 20A02901 | 250 | tbd | 2 | 1