## pH 4.0 SPEC TEST ABS
| Blank | Blank | Blank | Blank | Blank | Blank | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample
MEAN DRK | 1178.22 | 1178.66 | 1180.57 | 1177.04 | 1181.89 | 1183.13 | 1179.02 | 1181.09 | 1185.03 | 1177.1 | 1183.34 | 1183.13 | 1178.94 | 1183.14 | 1182.64 | 1180.99 | 1184.37 | 1183.73 | 1180.44 | 1185.51 | 1188.12 | 1179.47 | 1184.3 | 1186.2 | 1179.59 | 1181.25 | 1186.76 | 1182.14 | 1184.51 | 1184.61 | 1180.59 | 1184.44 | 1188.25 | 1180.89 | 1183.42 | 1187.99 | 1180.28 | 1182.84 | 1185.63 | 1184.76 | 1185.66 | 1185.81 | 1177.01 | 1179.06 | 1184 | 1177.55 | 1180.69 | 1181.04 | 1176.72 | 1179.12 | 1181.15 | 1177.49 | 1183.26 | 1185.06 | 1182.81 | 1184.96 | 1187.79 | 1178.92 | 1186.57 | 1187.35 | 1177.15 | 1181.62 | 1185.35 | 1180.05 | 1183.66 | 1188.25 | 1177.73 | 1184.32 | 1184.73 | 1178.46 | 1184.41 | 1187.29 | 1179.68 | 1182.4 | 1186.71 | 1182.94 | 1188.01 | 1184.1 | 1179.45 | 1185.31 | 1189.73 | 1176.85 | 1186.9 | 1185.81 | 1179.03 | 1185.62 | 1185.95 | 1177.08 | 1185.38 | 1184.09 | 1181.2 | 1186.98 | 1186.34 | 1182.41 | 1185.83 | 1187.01 | 1181.01 | 1184.12 | 1186.38 | 1182.7 | 1186.52 | 1184.83 | 1181.28 | 1188.95 | 1190.57 | 1183.92 | 1187.57 | 1189.93 | 1181.57 | 1189.89 | 1187.61 | 1184.63 | 1186.17 | 1187.78 | 1182.22 | 1189.53 | 1189.92 | 1184.4 | 1186.08 | 1190.07 | 1183.41 | 1185.76 | 1193.2 | 1183.12 | 1186.89 | 1189.38
Wavelength
433.9887 | 34788 | 34781 | 34776 | 34813 | 34812 | 34650 | 34753 | 34872 | 34774 | 32517 | 32612 | 32527 | 30229 | 30191 | 30174 | 28639 | 28372 | 28237 | 26732 | 26748 | 26525 | 24753 | 24582 | 24620 | 23000 | 23061 | 23136 | 21795 | 21660 | 21665 | 20255 | 20076 | 20217 | 18765 | 18969 | 19017 | 17595 | 17562 | 17610 | 16566 | 16479 | 16511 | 15608 | 15515 | 15418 | 14527 | 14567 | 14585 | 13556 | 13657 | 13646 | 12834 | 12797 | 12782 | 12152 | 12129 | 12064 | 11327 | 11306 | 11265 | 10667 | 10657 | 10645 | 10066 | 10030 | 10059 | 9472 | 9497 | 9483 | 8958 | 8966 | 8938 | 8398 | 8349 | 8376 | 7923 | 7900 | 7881 | 7470 | 7417 | 7465 | 7033 | 7058 | 7005 | 6625 | 6646 | 6600 | 6251 | 6239 | 6256 | 5896 | 5881 | 5851 | 5291 | 5298 | 5281 | 5043 | 5005 | 5026 | 4803 | 4793 | 4801 | 4538 | 4545 | 4575 | 4354 | 4352 | 4341 | 4124 | 4110 | 4123 | 3943 | 3926 | 3935 | 3751 | 3746 | 3747 | 3585 | 3585 | 3590 | 3431 | 3425 | 3424 | 3287 | 3287 | 3280
487.2898 | 22618 | 22575 | 22583 | 22633 | 22591 | 22558 | 22646 | 22683 | 22610 | 21888 | 21905 | 21911 | 21093 | 21046 | 21036 | 20559 | 20459 | 20372 | 19949 | 19907 | 19819 | 19074 | 19021 | 19009 | 18402 | 18450 | 18452 | 18019 | 17933 | 17913 | 17350 | 17168 | 17321 | 16635 | 16786 | 16794 | 16082 | 16049 | 16115 | 15660 | 15600 | 15605 | 15204 | 15122 | 15061 | 14650 | 14680 | 14668 | 14103 | 14168 | 14194 | 13798 | 13741 | 13759 | 13453 | 13439 | 13385 | 12936 | 12894 | 12875 | 12559 | 12546 | 12506 | 12214 | 12176 | 12199 | 11859 | 11873 | 11874 | 11543 | 11521 | 11503 | 11138 | 11071 | 11115 | 10815 | 10777 | 10740 | 10473 | 10423 | 10467 | 10169 | 10161 | 10091 | 9831 | 9811 | 9780 | 9473 | 9481 | 9509 | 9183 | 9151 | 9124 | 8669 | 8667 | 8649 | 8482 | 8404 | 8423 | 8232 | 8206 | 8226 | 7947 | 7959 | 7987 | 7766 | 7757 | 7758 | 7512 | 7474 | 7499 | 7338 | 7307 | 7315 | 7103 | 7099 | 7082 | 6907 | 6920 | 6919 | 6734 | 6720 | 6716 | 6541 | 6553 | 6536
759.7225 | 36086 | 36068 | 36061 | 36217 | 36159 | 36131 | 36201 | 36279 | 36194 | 36132 | 36199 | 36206 | 35969 | 35926 | 35922 | 36338 | 36219 | 36069 | 36433 | 36407 | 36263 | 36086 | 35969 | 35948 | 35883 | 36023 | 36073 | 36340 | 36199 | 36182 | 36168 | 35819 | 36123 | 35772 | 36168 | 36216 | 35702 | 35691 | 35852 | 35936 | 35830 | 35889 | 36046 | 35866 | 35739 | 35889 | 35988 | 35989 | 35569 | 35769 | 35851 | 35901 | 35754 | 35847 | 36066 | 36080 | 35936 | 35835 | 35744 | 35665 | 35840 | 35841 | 35741 | 35982 | 35852 | 35960 | 35992 | 36087 | 36075 | 36113 | 36087 | 36030 | 35923 | 35752 | 35897 | 36023 | 35879 | 35781 | 35996 | 35820 | 36027 | 36003 | 36026 | 35769 | 35972 | 35927 | 35780 | 35684 | 35702 | 35825 | 35611 | 35534 | 35411 | 35597 | 35608 | 35566 | 35921 | 35668 | 35743 | 35945 | 35796 | 35901 | 35611 | 35688 | 35903 | 35850 | 35857 | 35875 | 35594 | 35540 | 35604 | 35905 | 35732 | 35748 | 35707 | 35750 | 35627 | 35767 | 35839 | 35799 | 35709 | 35679 | 35583 | 35745 | 35771 | 35767
MEAN DARK ADJUSTED
| Q Blank | Q Blank | Q Blank | soln Blank | soln Blank | soln Blank | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample
Wavelength | [9 empty] | 10 | 10 | 10 | 20 | 20 | 20 | 30 | 30 | 30 | 40 | 40 | 40 | 50 | 50 | 50 | 60 | 60 | 60 | 70 | 70 | 70 | 80 | 80 | 80 | 90 | 90 | 90 | 100 | 100 | 100 | 110 | 110 | 110 | 120 | 120 | 120 | 130 | 130 | 130 | 140 | 140 | 140 | 150 | 150 | 150 | 160 | 160 | 160 | 170 | 170 | 170 | 180 | 180 | 180 | 190 | 190 | 190 | 200 | 200 | 200 | 210 | 210 | 210 | 220 | 220 | 220 | 230 | 230 | 230 | 240 | 240 | 240 | 250 | 250 | 250 | 260 | 260 | 260 | 270 | 270 | 270 | 280 | 280 | 280 | 290 | 290 | 290 | 300 | 300 | 300 | 310 | 310 | 310 | 320 | 320 | 320 | 330 | 330 | 330 | 340 | 340 | 340 | 350 | 350 | 350 | 360 | 360 | 360 | 370 | 370 | 370 | 380 | 380 | 380 | 390 | 390 | 390
433.9887 | 33609.78 | 33602.34 | 33595.43 | 33635.96 | 33630.11 | 33466.87 | 33573.98 | 33690.91 | 33588.97 | 31339.9 | 31428.66 | 31343.87 | 29050.06 | 29007.86 | 28991.36 | 27458.01 | 27187.63 | 27053.27 | 25551.56 | 25562.49 | 25336.88 | 23573.53 | 23397.7 | 23433.8 | 21820.41 | 21879.75 | 21949.24 | 20612.86 | 20475.49 | 20480.39 | 19074.41 | 18891.56 | 19028.75 | 17584.11 | 17785.58 | 17829.01 | 16414.72 | 16379.16 | 16424.37 | 15381.24 | 15293.34 | 15325.19 | 14430.99 | 14335.94 | 14234 | 13349.45 | 13386.31 | 13403.96 | 12379.28 | 12477.88 | 12464.85 | 11656.51 | 11613.74 | 11596.94 | 10969.19 | 10944.04 | 10876.21 | 10148.08 | 10119.43 | 10077.65 | 9489.85 | 9475.38 | 9459.65 | 8885.95 | 8846.34 | 8870.75 | 8294.27 | 8312.68 | 8298.27 | 7779.54 | 7781.59 | 7750.71 | 7218.32 | 7166.6 | 7189.29 | 6740.06 | 6711.99 | 6696.9 | 6290.55 | 6231.69 | 6275.27 | 5856.15 | 5871.1 | 5819.19 | 5445.97 | 5460.38 | 5414.05 | 5073.92 | 5053.62 | 5071.91 | 4714.8 | 4694.02 | 4664.66 | 4108.59 | 4112.17 | 4093.99 | 3861.99 | 3820.88 | 3839.62 | 3620.3 | 3606.48 | 3616.17 | 3356.72 | 3356.05 | 3384.43 | 3170.08 | 3164.43 | 3151.07 | 2942.43 | 2920.11 | 2935.39 | 2758.37 | 2739.83 | 2747.22 | 2568.78 | 2556.47 | 2557.08 | 2400.6 | 2398.92 | 2399.93 | 2247.59 | 2239.24 | 2230.8 | 2103.88 | 2100.11 | 2090.62
487.2898 | 21439.78 | 21396.34 | 21402.43 | 21455.96 | 21409.11 | 21374.87 | 21466.98 | 21501.91 | 21424.97 | 20710.9 | 20721.66 | 20727.87 | 19914.06 | 19862.86 | 19853.36 | 19378.01 | 19274.63 | 19188.27 | 18768.56 | 18721.49 | 18630.88 | 17894.53 | 17836.7 | 17822.8 | 17222.41 | 17268.75 | 17265.24 | 16836.86 | 16748.49 | 16728.39 | 16169.41 | 15983.56 | 16132.75 | 15454.11 | 15602.58 | 15606.01 | 14901.72 | 14866.16 | 14929.37 | 14475.24 | 14414.34 | 14419.19 | 14026.99 | 13942.94 | 13877 | 13472.45 | 13499.31 | 13486.96 | 12926.28 | 12988.88 | 13012.85 | 12620.51 | 12557.74 | 12573.94 | 12270.19 | 12254.04 | 12197.21 | 11757.08 | 11707.43 | 11687.65 | 11381.85 | 11364.38 | 11320.65 | 11033.95 | 10992.34 | 11010.75 | 10681.27 | 10688.68 | 10689.27 | 10364.54 | 10336.59 | 10315.71 | 9958.32 | 9888.6 | 9928.29 | 9632.06 | 9588.99 | 9555.9 | 9293.55 | 9237.69 | 9277.27 | 8992.15 | 8974.1 | 8905.19 | 8651.97 | 8625.38 | 8594.05 | 8295.92 | 8295.62 | 8324.91 | 8001.8 | 7964.02 | 7937.66 | 7486.59 | 7481.17 | 7461.99 | 7300.99 | 7219.88 | 7236.62 | 7049.3 | 7019.48 | 7041.17 | 6765.72 | 6770.05 | 6796.43 | 6582.08 | 6569.43 | 6568.07 | 6330.43 | 6284.11 | 6311.39 | 6153.37 | 6120.83 | 6127.22 | 5920.78 | 5909.47 | 5892.08 | 5722.6 | 5733.92 | 5728.93 | 5550.59 | 5534.24 | 5522.8 | 5357.88 | 5366.11 | 5346.62
759.7225 | 34907.78 | 34889.34 | 34880.43 | 35039.96 | 34977.11 | 34947.87 | 35021.98 | 35097.91 | 35008.97 | 34954.9 | 35015.66 | 35022.87 | 34790.06 | 34742.86 | 34739.36 | 35157.01 | 35034.63 | 34885.27 | 35252.56 | 35221.49 | 35074.88 | 34906.53 | 34784.7 | 34761.8 | 34703.41 | 34841.75 | 34886.24 | 35157.86 | 35014.49 | 34997.39 | 34987.41 | 34634.56 | 34934.75 | 34591.11 | 34984.58 | 35028.01 | 34521.72 | 34508.16 | 34666.37 | 34751.24 | 34644.34 | 34703.19 | 34868.99 | 34686.94 | 34555 | 34711.45 | 34807.31 | 34807.96 | 34392.28 | 34589.88 | 34669.85 | 34723.51 | 34570.74 | 34661.94 | 34883.19 | 34895.04 | 34748.21 | 34656.08 | 34557.43 | 34477.65 | 34662.85 | 34659.38 | 34555.65 | 34801.95 | 34668.34 | 34771.75 | 34814.27 | 34902.68 | 34890.27 | 34934.54 | 34902.59 | 34842.71 | 34743.32 | 34569.6 | 34710.29 | 34840.06 | 34690.99 | 34596.9 | 34816.55 | 34634.69 | 34837.27 | 34826.15 | 34839.1 | 34583.19 | 34792.97 | 34741.38 | 34594.05 | 34506.92 | 34516.62 | 34640.91 | 34429.8 | 34347.02 | 34224.66 | 34414.59 | 34422.17 | 34378.99 | 34739.99 | 34483.88 | 34556.62 | 34762.3 | 34609.48 | 34716.17 | 34429.72 | 34499.05 | 34712.43 | 34666.08 | 34669.43 | 34685.07 | 34412.43 | 34350.11 | 34416.39 | 34720.37 | 34545.83 | 34560.22 | 34524.78 | 34560.47 | 34437.08 | 34582.6 | 34652.92 | 34608.93 | 34525.59 | 34493.24 | 34389.8 | 34561.88 | 34584.11 | 34577.62
Avg Blank | Q Blank | Solution Blank
Wavelength
433.9887 | 33602.5167 | 33577.6467
487.2898 | 21412.85 | 21413.3133
759.7225 | 34892.5167 | 34988.3133
ABSORBANCES |  | Sample no dye | Sample no dye | Sample no dye | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample
Wavelength |  |  |  | DYE uL | 10 | 10 | 10 | 20 | 20 | 20 | 30 | 30 | 30 | 40 | 40 | 40 | 50 | 50 | 50 | 60 | 60 | 60 | 70 | 70 | 70 | 80 | 80 | 80 | 90 | 90 | 90 | 100 | 100 | 100 | 110 | 110 | 110 | 120 | 120 | 120 | 130 | 130 | 130 | 140 | 140 | 140 | 150 | 150 | 150 | 160 | 160 | 160 | 170 | 170 | 170 | 180 | 180 | 180 | 190 | 190 | 190 | 200 | 200 | 200 | 210 | 210 | 210 | 220 | 220 | 220 | 230 | 230 | 230 | 240 | 240 | 240 | 250 | 250 | 250 | 260 | 260 | 260 | 270 | 270 | 270 | 280 | 280 | 280 | 290 | 290 | 290 | 300 | 300 | 300 | 310 | 310 | 310 | 320 | 320 | 320 | 330 | 330 | 330 | 340 | 340 | 340 | 350 | 350 | 350 | 360 | 360 | 360 | 370 | 370 | 370 | 380 | 380 | 380 | 390 | 390 | 390
433.9887 |  | 4.7427e-05 | -0.0014625 | -0.00014643 | 0.029953 | 0.028724 | 0.029898 | 0.062903 | 0.063535 | 0.063782 | 0.087381 | 0.091679 | 0.09383 | 0.11863 | 0.11845 | 0.1223 | 0.15363 | 0.15688 | 0.15621 | 0.18719 | 0.18601 | 0.18463 | 0.21191 | 0.21482 | 0.21471 | 0.2456 | 0.24978 | 0.24664 | 0.28093 | 0.27598 | 0.27492 | 0.31082 | 0.31176 | 0.31056 | 0.33906 | 0.34155 | 0.34064 | 0.36675 | 0.36962 | 0.37272 | 0.40059 | 0.39939 | 0.39882 | 0.43335 | 0.42991 | 0.43036 | 0.45948 | 0.46108 | 0.46171 | 0.48588 | 0.48687 | 0.48957 | 0.51967 | 0.52089 | 0.52269 | 0.54879 | 0.54945 | 0.55018 | 0.57735 | 0.57929 | 0.57809 | 0.60727 | 0.60631 | 0.60706 | 0.6351 | 0.63498 | 0.63671 | 0.66761 | 0.67074 | 0.66936 | 0.69739 | 0.6992 | 0.70018 | 0.72736 | 0.73144 | 0.72842 | 0.75844 | 0.75733 | 0.76119 | 0.78998 | 0.78883 | 0.79253 | 0.82071 | 0.82245 | 0.82088 | 0.85259 | 0.85451 | 0.85723 | 0.91236 | 0.91198 | 0.9139 | 0.93924 | 0.94389 | 0.94176 | 0.96731 | 0.96897 | 0.9678 | 1.0001 | 1.0002 | 0.99656 | 1.025 | 1.0258 | 1.0276 | 1.0573 | 1.0607 | 1.0584 | 1.0854 | 1.0883 | 1.0872 | 1.1163 | 1.1184 | 1.1183 | 1.1457 | 1.146 | 1.1459 | 1.1743 | 1.1759 | 1.1776 | 1.203 | 1.2038 | 1.2058
487.2898 |  | -0.0010871 | -0.0017932 | -0.00023635 | 0.014485 | 0.014259 | 0.014129 | 0.031524 | 0.032642 | 0.03285 | 0.043375 | 0.045698 | 0.047648 | 0.057253 | 0.058343 | 0.060451 | 0.077964 | 0.079369 | 0.079708 | 0.09459 | 0.093423 | 0.093511 | 0.10442 | 0.10671 | 0.10723 | 0.12199 | 0.12701 | 0.12298 | 0.14164 | 0.13749 | 0.13739 | 0.15745 | 0.15849 | 0.15664 | 0.17006 | 0.17189 | 0.17174 | 0.18372 | 0.18633 | 0.18839 | 0.20124 | 0.20037 | 0.20077 | 0.21921 | 0.21711 | 0.21631 | 0.22961 | 0.23177 | 0.23121 | 0.24183 | 0.2424 | 0.24442 | 0.26038 | 0.26222 | 0.26296 | 0.27447 | 0.27514 | 0.27681 | 0.28795 | 0.28959 | 0.28887 | 0.30206 | 0.30176 | 0.30174 | 0.31513 | 0.31631 | 0.31718 | 0.3325 | 0.33555 | 0.33381 | 0.34696 | 0.34891 | 0.35041 | 0.3625 | 0.36512 | 0.36326 | 0.37682 | 0.37769 | 0.38104 | 0.39357 | 0.39491 | 0.39649 | 0.41182 | 0.41184 | 0.4103 | 0.4275 | 0.42955 | 0.43099 | 0.4564 | 0.45671 | 0.45783 | 0.4673 | 0.47215 | 0.47115 | 0.48254 | 0.48438 | 0.48304 | 0.50037 | 0.50009 | 0.4984 | 0.51232 | 0.51316 | 0.51325 | 0.52925 | 0.53244 | 0.53056 | 0.54157 | 0.54387 | 0.54342 | 0.5583 | 0.55914 | 0.56042 | 0.57309 | 0.57223 | 0.57261 | 0.58634 | 0.58763 | 0.58852 | 0.60169 | 0.60102 | 0.6026
759.7225 |  | -0.00041769 | -0.0013582 | -0.00025633 | 0.00041494 | -0.00033931 | -0.00042872 | 0.0024678 | 0.0030574 | 0.0031012 | -0.0020889 | -0.00057453 | 0.0012809 | -0.0032677 | -0.0028847 | -0.0010732 | 0.0010163 | 0.0025347 | 0.0028208 | 0.0035509 | 0.001823 | 0.0012688 | -0.0020994 | -0.0003248 | -0.00011265 | 1.1213e-05 | 0.0044133 | 0.00066537 | 0.0049585 | 4.6343e-05 | -0.00049246 | 0.0058306 | 0.0060012 | 0.0040146 | 0.0029527 | 0.0042907 | 0.0035536 | 0.0014836 | 0.003757 | 0.0054121 | 0.0034503 | 0.0022525 | 0.0022444 | 0.007462 | 0.004974 | 0.003971 | 0.0032994 | 0.0052143 | 0.0040701 | 0.0013068 | 0.0011593 | 0.0029906 | 0.0041436 | 0.0053816 | 0.0063854 | 0.0040587 | 0.0041022 | 0.0054039 | 0.0023194 | 0.00399 | 0.0026965 | 0.0021657 | 0.0010642 | 0.0012187 | 0.00066798 | 0.0010654 | 0.0018111 | 0.0030517 | 0.0052287 | 0.0034648 | 0.0018441 | 0.0037063 | 0.0048858 | 0.0021373 | 0.0044117 | 0.0018789 | 0.0020175 | 0.0018561 | 0.005058 | 0.0024315 | 0.0030759 | 0.0049216 | 0.0060168 | 0.0058947 | 0.0043337 | 0.0069885 | 0.0080339 | 0.0095839 | 0.0071804 | 0.0070848 | 0.0076299 | 0.0030933 | 0.0063069 | 0.0053917 | 0.0028145 | 0.0047279 | 0.0033912 | 0.0069895 | 0.0061159 | 0.003438 | 0.0040183 | 0.0039763 | 0.0037804 | 0.0072077 | 0.0079949 | 0.0071577 | 0.0033387 | 0.0055274 | 0.0053465 | 0.0057921 | 0.0053434 | 0.0068967 | 0.0050654 | 0.0041832 | 0.0047348 | 0.0057819 | 0.006189 | 0.0074934 | 0.0053256 | 0.0050464 | 0.0051279

## pH11.8 SPECTEST ABS
| Blank | Blank | Blank | Blank | Blank | Blank | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample
Wavelength | 1171.16 | 1176.09 | 1175.65 | 1170.35 | 1170.18 | 1178 | 1174.59 | 1178.8 | 1179.67 | 1172.02 | 1177.27 | 1177.25 | 1175.76 | 1179.33 | 1179.36 | 1175 | 1180.17 | 1180.44 | 1173.68 | 1178.28 | 1183.56 | 1177.49 | 1181.13 | 1176.12 | 1176.52 | 1181.29 | 1179.93 | 1175.61 | 1181.35 | 1184.42 | 1174.23 | 1181.04 | 1181.95 | 1174.72 | 1179.3 | 1180.11 | 1178.94 | 1183.49 | 1185.3 | 1175.67 | 1179.06 | 1183.1 | 1175.91 | 1180.64 | 1182.36 | 1178.72 | 1180.74 | 1182.81 | 1179.12 | 1181.37 | 1181.79 | 1172.39 | 1177.22 | 1181.11 | 1173.42 | 1174.95 | 1176.57 | 1176.23 | 1177.3 | 1182.79 | 1173.49 | 1179.7 | 1185.45 | 1179.61 | 1181.41 | 1180.65 | 1177.82 | 1182.92 | 1185.38
578.4643 | 39331 | 39262 | 39349 | 38882 | 38802 | 38739 | 38897 | 38725 | 38745 | 33223 | 33290 | 33262 | 28572 | 28534 | 28534 | 24479 | 24420 | 24466 | 20712 | 20716 | 20659 | 18200 | 18169 | 18180 | 15662 | 15603 | 15587 | 13545 | 13530 | 13539 | 11730 | 11712 | 11697 | 10232 | 10228 | 10201 | 8938 | 8938 | 8913 | 7771 | 7780 | 7739 | 6830 | 6813 | 6816 | 5978 | 5950 | 5954 | 5242 | 5307 | 5293 | 4685 | 4704 | 4693 | 4194 | 4197 | 4197 | 3771 | 3759 | 3768 | 3402 | 3403 | 3407 | 3085 | 3076 | 3079 | 2816 | 2809 | 2803
487.2898 | 22910 | 22842 | 22926 | 22695 | 22619 | 22584 | 22694 | 22550 | 22526 | 21778 | 21839 | 21836 | 21065 | 21019 | 21043 | 20279 | 20211 | 20240 | 19312 | 19292 | 19199 | 19036 | 18980 | 18992 | 18354 | 18264 | 18264 | 17720 | 17710 | 17703 | 17064 | 17058 | 17022 | 16593 | 16563 | 16549 | 16062 | 16035 | 16014 | 15431 | 15428 | 15316 | 14971 | 14941 | 14922 | 14429 | 14333 | 14338 | 13848 | 13988 | 13964 | 13529 | 13564 | 13542 | 13114 | 13147 | 13129 | 12715 | 12678 | 12675 | 12283 | 12262 | 12251 | 11835 | 11799 | 11812 | 11467 | 11363 | 11396
780.1835 | 33761 | 33696 | 33827 | 33469 | 33329 | 33334 | 33470 | 33267 | 33273 | 33270 | 33375 | 33409 | 33264 | 33263 | 33296 | 33139 | 33040 | 33124 | 32568 | 32583 | 32456 | 33343 | 33278 | 33288 | 33308 | 33131 | 33166 | 33269 | 33255 | 33231 | 33096 | 33145 | 33089 | 33294 | 33281 | 33266 | 33329 | 33284 | 33231 | 33054 | 33103 | 32900 | 33210 | 33156 | 33151 | 33064 | 32850 | 32894 | 32848 | 33224 | 33183 | 33133 | 33256 | 33236 | 33241 | 33372 | 33288 | 33276 | 33198 | 33196 | 33238 | 33175 | 33165 | 33071 | 32960 | 33022 | 33064 | 32790 | 32908
MEAN DARK ADJUSTED
| Q Blank | Q Blank | Q Blank | SOLNBlank | SOLNBlank | SOLNBlank | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample
Wavelength | [6 empty] | NO | NO | NO | 10 | 10 | 10 | 20 | 20 | 20 | 30 | 30 | 30 | 40 | 40 | 40 | 50 | 50 | 50 | 60 | 60 | 60 | 70 | 70 | 70 | 80 | 80 | 80 | 90 | 90 | 90 | 100 | 100 | 100 | 110 | 110 | 110 | 120 | 120 | 120 | 130 | 130 | 130 | 140 | 140 | 140 | 150 | 150 | 150 | 160 | 160 | 160 | 170 | 170 | 170 | 180 | 180 | 180 | 190 | 190 | 190 | 200 | 200 | 200
578.4643 | 38159.84 | 38085.91 | 38173.35 | 37711.65 | 37631.82 | 37561 | 37722.41 | 37546.2 | 37565.33 | 32050.98 | 32112.73 | 32084.75 | 27396.24 | 27354.67 | 27354.64 | 23304 | 23239.83 | 23285.56 | 19538.32 | 19537.72 | 19475.44 | 17022.51 | 16987.87 | 17003.88 | 14485.48 | 14421.71 | 14407.07 | 12369.39 | 12348.65 | 12354.58 | 10555.77 | 10530.96 | 10515.05 | 9057.28 | 9048.7 | 9020.89 | 7759.06 | 7754.51 | 7727.7 | 6595.33 | 6600.94 | 6555.9 | 5654.09 | 5632.36 | 5633.64 | 4799.28 | 4769.26 | 4771.19 | 4062.88 | 4125.63 | 4111.21 | 3512.61 | 3526.78 | 3511.89 | 3020.58 | 3022.05 | 3020.43 | 2594.77 | 2581.7 | 2585.21 | 2228.51 | 2223.3 | 2221.55 | 1905.39 | 1894.59 | 1898.35 | 1638.18 | 1626.08 | 1617.62
487.2898 | 21738.84 | 21665.91 | 21750.35 | 21524.65 | 21448.82 | 21406 | 21519.41 | 21371.2 | 21346.33 | 20605.98 | 20661.73 | 20658.75 | 19889.24 | 19839.67 | 19863.64 | 19104 | 19030.83 | 19059.56 | 18138.32 | 18113.72 | 18015.44 | 17858.51 | 17798.87 | 17815.88 | 17177.48 | 17082.71 | 17084.07 | 16544.39 | 16528.65 | 16518.58 | 15889.77 | 15876.96 | 15840.05 | 15418.28 | 15383.7 | 15368.89 | 14883.06 | 14851.51 | 14828.7 | 14255.33 | 14248.94 | 14132.9 | 13795.09 | 13760.36 | 13739.64 | 13250.28 | 13152.26 | 13155.19 | 12668.88 | 12806.63 | 12782.21 | 12356.61 | 12386.78 | 12360.89 | 11940.58 | 11972.05 | 11952.43 | 11538.77 | 11500.7 | 11492.21 | 11109.51 | 11082.3 | 11065.55 | 10655.39 | 10617.59 | 10631.35 | 10289.18 | 10180.08 | 10210.62
780.1835 | 32589.84 | 32519.91 | 32651.35 | 32298.65 | 32158.82 | 32156 | 32295.41 | 32088.2 | 32093.33 | 32097.98 | 32197.73 | 32231.75 | 32088.24 | 32083.67 | 32116.64 | 31964 | 31859.83 | 31943.56 | 31394.32 | 31404.72 | 31272.44 | 32165.51 | 32096.87 | 32111.88 | 32131.48 | 31949.71 | 31986.07 | 32093.39 | 32073.65 | 32046.58 | 31921.77 | 31963.96 | 31907.05 | 32119.28 | 32101.7 | 32085.89 | 32150.06 | 32100.51 | 32045.7 | 31878.33 | 31923.94 | 31716.9 | 32034.09 | 31975.36 | 31968.64 | 31885.28 | 31669.26 | 31711.19 | 31668.88 | 32042.63 | 32001.21 | 31960.61 | 32078.78 | 32054.89 | 32067.58 | 32197.05 | 32111.43 | 32099.77 | 32020.7 | 32013.21 | 32064.51 | 31995.3 | 31979.55 | 31891.39 | 31778.59 | 31841.35 | 31886.18 | 31607.08 | 31722.62
Avg Blank | Q Blank | Solution Blank
Wavelength
578.4643 | 38139.7 | 37634.8233
487.2898 | 21718.3667 | 21459.8233
780.1835 | 32587.0333 | 32204.49
ABSORBANCES |  | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample
Wavelength | DYE=> | NO | NO | NO | 10 | 10 | 10 | 20 | 20 | 20 | 30 | 30 | 30 | 40 | 40 | 40 | 50 | 50 | 50 | 60 | 60 | 60 | 70 | 70 | 70 | 80 | 80 | 80 | 90 | 90 | 90 | 100 | 100 | 100 | 110 | 110 | 110 | 120 | 120 | 120 | 130 | 130 | 130 | 140 | 140 | 140 | 150 | 150 | 150 | 160 | 160 | 160 | 170 | 170 | 170 | 180 | 180 | 180 | 190 | 190 | 190 | 200 | 200 | 200
578.4643 |  | -0.0010095 | 0.0010239 | 0.00080267 | 0.069749 | 0.068913 | 0.069291 | 0.1379 | 0.13856 | 0.13856 | 0.20816 | 0.20936 | 0.2085 | 0.2847 | 0.28472 | 0.2861 | 0.34457 | 0.34545 | 0.34504 | 0.41466 | 0.41657 | 0.41701 | 0.48324 | 0.48397 | 0.48376 | 0.5521 | 0.55312 | 0.55378 | 0.61859 | 0.619 | 0.62034 | 0.68578 | 0.68604 | 0.68754 | 0.75635 | 0.75598 | 0.75896 | 0.82323 | 0.8249 | 0.8248 | 0.89441 | 0.89714 | 0.89696 | 0.96676 | 0.9601 | 0.96162 | 1.03 | 1.0282 | 1.03 | 1.0955 | 1.0953 | 1.0955 | 1.1615 | 1.1637 | 1.1631 | 1.2276 | 1.2286 | 1.2289 | 1.2956 | 1.2981 | 1.2972 | 1.3612 | 1.3644 | 1.3667
487.2898 |  | -0.0012042 | 0.0017972 | 0.0023029 | 0.017633 | 0.016459 | 0.016522 | 0.033008 | 0.034092 | 0.033567 | 0.050502 | 0.052168 | 0.051513 | 0.073029 | 0.073618 | 0.075981 | 0.079781 | 0.081234 | 0.080819 | 0.096667 | 0.099069 | 0.099035 | 0.11298 | 0.11339 | 0.11365 | 0.13051 | 0.13086 | 0.13187 | 0.14359 | 0.14457 | 0.14498 | 0.15893 | 0.15986 | 0.16052 | 0.17765 | 0.17784 | 0.18139 | 0.1919 | 0.193 | 0.19365 | 0.2094 | 0.21263 | 0.21253 | 0.22889 | 0.22419 | 0.22502 | 0.23973 | 0.23867 | 0.23958 | 0.2546 | 0.25346 | 0.25417 | 0.26947 | 0.2709 | 0.27122 | 0.28593 | 0.287 | 0.28765 | 0.30406 | 0.3056 | 0.30504 | 0.31925 | 0.32387 | 0.32257
780.1835 |  | -0.0012244 | 0.0015711 | 0.0015016 | 0.0014387 | 9.1172e-05 | -0.00036746 | 0.0015705 | 0.0016324 | 0.0011863 | 0.0032553 | 0.004673 | 0.0035331 | 0.011065 | 0.010922 | 0.012755 | 0.00052598 | 0.0014537 | 0.0012507 | 0.0009857 | 0.0034495 | 0.0029555 | 0.0015008 | 0.001768 | 0.0021347 | 0.0038295 | 0.0032558 | 0.0040298 | 0.0011506 | 0.0013884 | 0.0016023 | 0.00073464 | 0.0014045 | 0.0021467 | 0.0044209 | 0.0037999 | 0.0066257 | 0.002304 | 0.003101 | 0.0031923 | 0.0043262 | 0.0072785 | 0.0067039 | 0.0072837 | 0.0021883 | 0.00275 | 0.0033014 | 0.0016986 | 0.0020221 | 0.0018502 | 0.00010034 | 0.0012568 | 0.0014145 | 0.0024856 | 0.0025872 | 0.0018918 | 0.0028302 | 0.0030441 | 0.004243 | 0.0057818 | 0.004925 | 0.0043139 | 0.0081321 | 0.0065474