## Sheet1
20210804 | NOW USES DB9 COMMS FROM ABOVE, SAME MINI BNC, BUT DB15 FOR ALLLLLLL SENSORS
DB15 WIRING
[5 empty] | IN BOX |  | Only issue to fix is to add a jumper for thermistor addition for DSD
UDA COLOR | HARWIN | VALUE | DB15 PIN | DB15 Color | HARWIN | OVERLAP | Do via DB15 4x spare and splice? PROS: allows for external to just get added, honeywell and all others can use same pinout, bring inline in box
ORANGE | 1 | Source | 1 | ORNG | 1 | DSD
Wht/BLK | 2 | Counter A | 2 | WHT/BLK | 2 | DSD
GRN | 3 | RKO A | 3 | GRN | 3
RED/BLK | 4 | GND | 4 | BLUE/WHT | 4
WHITE | 5 | T3 | 5 | WHITE | 5 | Orion
BLK | 6 | Ref INT | 6 | BLK | 6
GRN/BLK | 7 | RKO B | 7 | GRN/WHT | 7
RED | 8 | SUBSTRATE | 8 | RED | 8 | DSD
BLU | 9 | Drain | 9 | BLU | 9 | DSD
ORNG/BLK | 10 | IP3V | 10 | ORNG/WHT | 10 | Orion
PURP (ADD TO SHIELD) | 11 | GND | 11 | PURP | 11 | Orion
spare | 12
20210804: IGNORE INFO BELOW FOR NOW
Amphenol (from DSD) | DSD/Therm Cable | Box DB9 | Harwin Pin
White | White | 6 | 9
Red | Red | 7 | 8
Black | Black | 8 | 1
Green | Green | 9 | 2
MOLEX (Thermistor)
Amphenol (from DSD) | DSD/Therm Cable | Box DB9 | Harwin Pin
Red | Wht/Blk | 1 | 5
Red | Orng/Blk | 2 | 10
Blk | Grn/Blk | 3 | 12 | Should be 11 now