## 20210811_UPDATE
SENSOR | 10" | 10x
MALE |  | IN BOX
DB15 PIN (Male) | DB15 Color | Fem HARWIN (6+6)
1 | ORNG | 1
2 | WHT/BLK | 2
3 | GRN | 3
4 | BLUE/WHT | 4
5 | WHITE | 5
6 | BLK | 6
7 | GRN/WHT | 7
8 | RED | 8
9 | BLU | 9
10 | ORNG/WHT | 10
11 | PURP/shield | 11
COMMS | 10" | 10x
Female |  | IN BOX
DB9 Socket | DB9 color | HARWIN (2+2)
2 | BLU | 2
3 | GRN | 1
5 | BLK | 3
COMMS EXTENDER | 10x
Female | 24" | MALE
DB9 socket | DB9 color | DB9 PIN
2 | BLU | 2
3 | GRN | 3
5 | BLK | 5
Mini BNC to Mini BNC Patch cable
10x | 24"
UDA CABLE #1: | Has molex breakout (FEM) for 3 wires on harwin side
SENSOR |  | 5x
MALE |  | UDA
DB15 PIN (FEMale) | UDA COLOR | Fem HARWIN (6+6)
1 | ORANGE | 1
2 | Wht/BLK | 2
3 | GRN | 3
4 | RED/BLK | 4
5 | WHITE |  | MOLEX
6 | BLK | 6
7 | GRN/BLK | 7
8 | RED | 8
9 | BLU | 9
10 | ORNG/BLK |  | MOLEX
11 | PURP (ADD TO SHIELD) |  | MOLEX
spare
UDA CABLE #2: | HONEYWELL TERMINATION: DO NOT TRIM
SENSOR | 2x
MALE
DB15 PIN (FEMale) | UDA COLOR
1 | ORANGE
2 | Wht/BLK
3 | GRN
4 | RED/BLK
5 | WHITE
6 | BLK
7 | GRN/BLK
8 | RED
9 | BLU
10 | ORNG/BLK
11 | PURP (ADD TO SHIELD) | Yellow pre-attached
spare

## Sheet1
20210804 | NOW USES DB9 COMMS FROM ABOVE, SAME MINI BNC, BUT DB15 FOR ALLLLLLL SENSORS
DB15 WIRING
|  |  | MALE |  | IN BOX |  |  | Only issue to fix is to add a jumper for thermistor addition for DSD
UDA COLOR | HARWIN | VALUE | DB15 PIN | DB15 Color | HARWIN | OVERLAP |  | Do via DB15 4x spare and splice? PROS: allows for external to just get added, honeywell and all others can use same pinout, bring inline in box
ORANGE | 1 | Source | 1 | ORNG | 1 | DSD
Wht/BLK | 2 | Counter A | 2 | WHT/BLK | 2 | DSD
GRN | 3 | RKO A | 3 | GRN | 3
RED/BLK | 4 | GND | 4 | BLUE/WHT | 4
WHITE | 5 | T3 | 5 | WHITE | 5 | Orion
BLK | 6 | Ref INT | 6 | BLK | 6
GRN/BLK | 7 | RKO B | 7 | GRN/WHT | 7
RED | 8 | SUBSTRATE | 8 | RED | 8 | DSD
BLU | 9 | Drain | 9 | BLU | 9 | DSD
ORNG/BLK | 10 | IP3V | 10 | ORNG/WHT | 10 | Orion
PURP (ADD TO SHIELD) | 11 | GND | 11 | PURP | 11 | Orion
spare | 12
20210804: IGNORE INFO BELOW FOR NOW
Amphenol (from DSD) | DSD/Therm Cable | Box DB9 | Harwin Pin
White | White | 6 | 9
Red | Red | 7 | 8
Black | Black | 8 | 1
Green | Green | 9 | 2
MOLEX (Thermistor) | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD
Amphenol (from DSD) | DSD/Therm Cable | Box DB9 | Harwin Pin |  | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD
Red | Wht/Blk | 1 | 5 |  | DO NOT USE ONLY IF DSD OLD
Red | Orng/Blk | 2 | 10 |  | DO NOT USE ONLY IF DSD OLD
Blk | Grn/Blk | 3 | 12 | Should be 11 now | DO NOT USE ONLY IF DSD OLD
DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD
DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD
DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD
DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD | DO NOT USE ONLY IF DSD OLD