Meeting Notes mFET-C fabrication and GDF noise 9/8/2020

Fabrication of mFET-C, version control, inventory organization

- mFET B had failures out of assembly, including installed jumpers after rework (out of Scott’s control). Can we improve it?

  - Most of failures seem to be comm related. Scott will look into this by investigating failed boards from Thom. Should have results by early October.

  - Hold off on fabrication/assembly of mFET-C until this is resolved.

  - For fabrication, order mFET/mFET, and mCAP/mCAP arrays, since we are still trying to figure out how to best assemble mFET.

  - Default: 2 battery input into mCAP

  - Need to order 10+ extra of the tiny oscillator so it can be mounted to the machine. OK to do so.

- We are ditching backwards compatibility in firmware (i.e. stop supporting mFET revA). This will save time.

  - Thom keeps firmware as V1, V2, … and has a decoder key that shows what combination of mFET/mCAP versions are supported by different firmware versions.

  - Moving forwards, we are aiming to throw away all mFET revA boards

- New Serial Number scheme

  - RBBBNNN: R = revision of board, BBB = Build number (001-999), and NNN = board number in build (000-999)

  - Example: C001001: Version C, build 1,

  - Have assemblers put SN stickers on the board. Will need to relay this info to them each build.

- Formalize checkout routine

  - Update schematics, and formalize process of board checkout. For next meeting.

Noise into mFET/mCAP using GDF (Gene’s new pH sensor design)

- Everyone agreed it was weird.

- Scott doesn’t seem to think it is EM noise; there are no big pumps getting actuated. So likely temperature effect?

  - Do experiment with pChan FET to increase board temp but not FET temp.

- These experiments were done on mFETA/mCAPA, so should re-do with most recent versions of the controllers.