## NFtst02_RESPONSE TIME
|  | pH Stability and response time. | [15 empty] | Averages | Stdev
Sample # | solution pH | Sample Time | Main Batt | Env Temp | Env Humidity | Vtherm | Vtherm std | Vint Offset | Vint Offset Std | Vext Offset | Vext Offset Std | Vcntr E | Vcntr E Std | Icntr Elec | Substrate Leak | pH Temp | pH TRIS/FSW | Vextoffset
#0000000 |  | 2021-06-10 17:45 | 8.59 | 21.62 | 50 | 1.1305 | 0.000162 | -0.51131 | 0.000453 | -0.99004 | 0.000196 | 1.4814 | 0.000277 | 7.8e-05 | 1.9929 | 20.595 | 8.2 | -0.98556 | 0.0018519
#0000001 | 8.2 | 2021-06-10 17:45 | 8.57 | 21.36 | 50 | 1.1366 | 0.000111 | -0.51341 | 0.000411 | -0.98716 | 6.9e-05 | 1.4793 | 0.000166 | 9.2e-05 | 1.9929 | 20.414 | 7.6 | -1.0198 | 0.0018552
#0000002 | 8.2 | 2021-06-10 17:45 | 8.6 | 21.49 | 50 | 1.1433 | 5.9e-05 | -0.51314 | 0.000494 | -0.98566 | 5.7e-05 | 1.4793 | 0.000244 | 0.000115 | 1.9929 | 20.217 | 7.4 | -1.0325 | 0.00055758
#0000003 | 8.2 | 2021-06-10 17:45 | 8.58 | 21.36 | 50 | 1.1467 | 4.3e-05 | -0.51321 | 0.000438 | -0.98509 | 5.2e-05 | 1.4794 | 0.000209 | 0.000102 | 1.9929 | 20.119
#0000004 | 8.2 | 2021-06-10 17:46 | 8.58 | 21.36 | 50 | 1.149 | 4.3e-05 | -0.51312 | 0.000395 | -0.98486 | 3.1e-05 | 1.4794 | 0.000167 | 0.000101 | 1.9929 | 20.051 | pH Tris/FSW | Vextoffset |  | m | 0.0583
#0000005 | 8.2 | 2021-06-10 17:46 | 8.58 | 21.36 | 50 | 1.1506 | 4.4e-05 | -0.5129 | 0.000418 | -0.98468 | 5.4e-05 | 1.4797 | 0.000138 | 0.000167 | 1.993 | 20.003 | 8.2 (pt2) | -0.98677 | 0.0028457 | b | -1.4634
#0000006 | 8.2 | 2021-06-10 17:46 | 8.57 | 21.36 | 50 | 1.1515 | 4.3e-05 | -0.51225 | 0.000399 | -0.98456 | 5e-05 | 1.4803 | 0.000205 | 9.8e-05 | 1.9929 | 19.977 | Unknown | -1.3708 | 0.0013132
#0000007 | 7.6 | 2021-06-10 17:46 | 8.58 | 21.36 | 50 | 1.1523 | 4.2e-05 | -0.54177 | 0.001023 | -1.0132 | 0.000925 | 1.4495 | 0.000329 | 0.00015 | 1.9929 | 19.954
#0000008 | 7.6 | 2021-06-10 17:46 | 8.6 | 21.49 | 50 | 1.1547 | 4.5e-05 | -0.54765 | 0.000187 | -1.0202 | 3.4e-05 | 1.4454 | 0.000248 | 7.5e-05 | 1.9929 | 19.885 | Unk pH | 1.5881
#0000009 | 7.6 | 2021-06-10 17:46 | 8.57 | 21.49 | 50 | 1.1556 | 4.8e-05 | -0.54748 | 0.000464 | -1.0208 | 4e-05 | 1.4451 | 0.000164 | 0.000104 | 1.9929 | 19.858
#0000010 | 7.6 | 2021-06-10 17:46 | 8.6 | 21.36 | 50 | 1.1565 | 4.6e-05 | -0.54773 | 0.000404 | -1.0209 | 4.2e-05 | 1.4449 | 0.000159 | 0.000128 | 1.9929 | 19.834
#0000011 | 7.6 | 2021-06-10 17:47 | 8.57 | 21.36 | 50 | 1.1569 | 4.7e-05 | -0.54698 | 0.000591 | -1.021 | 4.6e-05 | 1.4457 | 0.00046 | 0.000194 | 1.9929 | 19.821
#0000012 | 7.6 | 2021-06-10 17:47 | 8.57 | 21.75 | 50 | 1.1574 | 4.8e-05 | -0.54686 | 0.000427 | -1.021 | 5.2e-05 | 1.4458 | 0.000212 | 0.000139 | 1.9929 | 19.807
#0000013 | 7.4 | 2021-06-10 17:47 | 8.57 | 21.36 | 50 | 1.1578 | 5.2e-05 | -0.55701 | 0.000573 | -1.032 | 1.5e-05 | 1.4353 | 5.4e-05 | 0.000305 | 1.9929 | 19.794
#0000014 | 7.4 | 2021-06-10 17:47 | 8.57 | 21.36 | 50 | 1.1576 | 5e-05 | -0.55813 | 0.000443 | -1.0327 | 4.8e-05 | 1.4346 | 6.9e-05 | 0.00014 | 1.9929 | 19.799
#0000015 | 7.4 | 2021-06-10 17:47 | 8.57 | 21.36 | 50 | 1.158 | 5e-05 | -0.55805 | 0.000536 | -1.0329 | 4.2e-05 | 1.4345 | 0.000244 | 8.4e-05 | 1.9929 | 19.789
#0000016 | 7.4 | 2021-06-10 17:48 | 8.57 | 21.36 | 50 | 1.1582 | 4.7e-05 | -0.55785 | 0.000435 | -1.0329 | 5.1e-05 | 1.4349 | 6.3e-05 | 0.000133 | 1.9929 | 19.784
#0000017 | 7.4 | 2021-06-10 17:48 | 8.58 | 21.36 | 50 | 1.1585 | 4.9e-05 | -0.5576 | 0.000405 | -1.033 | 4.4e-05 | 1.435 | 0.000167 | 0.000196 | 1.9929 | 19.774
#0000018 | 7.4 | 2021-06-10 17:48 | 8.57 | 21.1 | 50 | 1.1587 | 4.9e-05 | -0.55732 | 0.000319 | -1.033 | 3.8e-05 | 1.4352 | 0.000128 | 0.000131 | 1.9929 | 19.768
#0000019 | 8.2 | 2021-06-10 17:48 | 8.57 | 21.36 | 50 | 1.1591 | 4.6e-05 | -0.51302 | 0.000159 | -0.99219 | 0.000867 | 1.4804 | 0.000262 | 0.000106 | 1.9929 | 19.757
#0000020 | 8.2 | 2021-06-10 17:48 | 8.57 | 21.36 | 50 | 1.1588 | 5.7e-05 | -0.5081 | 0.000483 | -0.98572 | 6e-05 | 1.4844 | 0.000287 | 8.2e-05 | 1.9929 | 19.765
#0000021 | 8.2 | 2021-06-10 17:48 | 8.58 | 21.36 | 50 | 1.1584 | 5.3e-05 | -0.50692 | 0.000401 | -0.98496 | 5e-05 | 1.4855 | 0.000119 | 0.000136 | 1.9929 | 19.778
#0000022 | 8.2 | 2021-06-10 17:49 | 8.57 | 21.36 | 50 | 1.1584 | 6.6e-05 | -0.50405 | 0.000397 | -0.98466 | 4.5e-05 | 1.4878 | 0.000336 | 0.000105 | 1.9929 | 19.779
#0000023 | 8.2 | 2021-06-10 17:49 | 8.57 | 21.1 | 50 | 1.1587 | 5.6e-05 | -0.50458 | 0.000427 | -0.9845 | 4.9e-05 | 1.4878 | 0.000186 | 0.000134 | 1.9929 | 19.77
#0000024 | 8.2 | 2021-06-10 17:49 | 8.57 | 21.36 | 50 | 1.1586 | 5.2e-05 | -0.50547 | 0.000482 | -0.98442 | 5.7e-05 | 1.4871 | 9.7e-05 | 0.000118 | 1.9929 | 19.772
#0000025 | 7.6 | 2021-06-10 17:49 | 8.56 | 21.62 | 51 | 1.159 | 4.2e-05 | -0.53946 | 0.000594 | -1.0183 | 4.9e-05 | 1.4531 | 0.000249 | 7e-05 | 1.9929 | 19.76
#0000026 | 7.6 | 2021-06-10 17:49 | 8.57 | 21.36 | 50 | 1.1602 | 4.8e-05 | -0.54072 | 0.000551 | -1.02 | 3.6e-05 | 1.4518 | 0.000318 | 0.000108 | 1.9929 | 19.724
#0000027 | 7.6 | 2021-06-10 17:49 | 8.57 | 21.36 | 50 | 1.1607 | 4.8e-05 | -0.54069 | 0.000459 | -1.0204 | 3.8e-05 | 1.452 | 0.000197 | 0.000108 | 1.9929 | 19.711
#0000028 | 7.6 | 2021-06-10 17:50 | 8.57 | 21.36 | 50 | 1.1608 | 4.8e-05 | -0.54065 | 0.000534 | -1.0207 | 4.9e-05 | 1.452 | 0.000311 | 0.000147 | 1.9929 | 19.707
#0000029 | 7.6 | 2021-06-10 17:50 | 8.57 | 21.36 | 50 | 1.1614 | 4.9e-05 | -0.54029 | 0.000534 | -1.0207 | 4.6e-05 | 1.4523 | 0.000247 | 9.9e-05 | 1.9929 | 19.691
#0000030 | 7.6 | 2021-06-10 17:50 | 8.57 | 21.23 | 50 | 1.1618 | 5e-05 | -0.53999 | 0.000481 | -1.0208 | 5.8e-05 | 1.4526 | 0.000179 | 0.000114 | 1.9929 | 19.679
#0000031 | 7.4 | 2021-06-10 17:50 | 8.57 | 21.36 | 51 | 1.1616 | 4.4e-05 | -0.55035 | 0.00062 | -1.0311 | 7e-05 | 1.4421 | 0.000249 | 0.000115 | 1.9929 | 19.684
#0000032 | 7.4 | 2021-06-10 17:50 | 8.59 | 21.36 | 51 | 1.1617 | 5.4e-05 | -0.5514 | 0.000493 | -1.0324 | 3.3e-05 | 1.4412 | 0.000286 | 0.000102 | 1.9929 | 19.681
#0000033 | 7.4 | 2021-06-10 17:50 | 8.56 | 21.62 | 51 | 1.1612 | 5.1e-05 | -0.55122 | 0.000522 | -1.0326 | 3.4e-05 | 1.4412 | 0.000162 | 0.000126 | 1.9929 | 19.695
#0000034 | 7.4 | 2021-06-10 17:50 | 8.59 | 21.23 | 51 | 1.1615 | 5.2e-05 | -0.551 | 0.000397 | -1.0327 | 5.6e-05 | 1.4414 | 0.00012 | 0.000148 | 1.9929 | 19.687
#0000035 | 7.4 | 2021-06-10 17:51 | 8.56 | 21.49 | 51 | 1.1613 | 5e-05 | -0.55085 | 0.00052 | -1.0328 | 4.6e-05 | 1.4418 | 0.000288 | 0.000126 | 1.9929 | 19.694
#0000036 | 7.4 | 2021-06-10 17:51 | 8.56 | 21.23 | 51 | 1.1617 | 5.3e-05 | -0.55048 | 0.00064 | -1.0328 | 4.8e-05 | 1.442 | 0.00028 | 0.000128 | 1.9929 | 19.681
#0000037 | 8.2 | 2021-06-10 17:51 | 8.57 | 21.23 | 51 | 1.1619 | 5.3e-05 | -0.50397 | 0.000509 | -0.98781 | 0.000126 | 1.4888 | 0.000278 | 0.000153 | 1.9929 | 19.675
#0000038 | 8.2 | 2021-06-10 17:51 | 8.57 | 21.36 | 51 | 1.1611 | 5.8e-05 | -0.50136 | 0.000544 | -0.98548 | 5.8e-05 | 1.4912 | 0.000376 | 8.1e-05 | 1.9929 | 19.7
#0000039 | 8.2 | 2021-06-10 17:51 | 8.58 | 21.23 | 51 | 1.1606 | 5.4e-05 | -0.50028 | 0.000459 | -0.98488 | 5.2e-05 | 1.4922 | 0.000124 | 0.000125 | 1.9929 | 19.715
#0000040 | 8.2 | 2021-06-10 17:52 | 8.56 | 21.36 | 51 | 1.1605 | 5.3e-05 | -0.49886 | 0.000524 | -0.98458 | 4.9e-05 | 1.4935 | 0.000122 | 0.000124 | 1.9929 | 19.717
#0000041 | 8.2 | 2021-06-10 17:52 | 8.56 | 21.36 | 51 | 1.1603 | 5.3e-05 | -0.49855 | 0.000355 | -0.98443 | 4.3e-05 | 1.4938 | 0.000153 | 0.000138 | 1.9929 | 19.724
#0000042 | 8.2 | 2021-06-10 17:52 | 8.57 | 21.75 | 50 | 1.1602 | 5.4e-05 | -0.49826 | 0.000438 | -0.98437 | 5.2e-05 | 1.4948 | 0.000334 | 0.000101 | 1.9929 | 19.727
#0000043 | 7.6 | 2021-06-10 17:52 | 8.57 | 21.62 | 51 | 1.1603 | 4.3e-05 | -0.53162 | 0.000557 | -1.0173 | 0.000106 | 1.4606 | 0.000223 | 0.000133 | 1.9929 | 19.721
#0000044 | 7.6 | 2021-06-10 17:52 | 8.57 | 21.36 | 51 | 1.1616 | 5e-05 | -0.53387 | 0.000551 | -1.0198 | 2.4e-05 | 1.4587 | 0.000202 | 0.000116 | 1.9929 | 19.685
#0000045 | 7.6 | 2021-06-10 17:52 | 8.57 | 21.1 | 51 | 1.1625 | 4.9e-05 | -0.5341 | 0.0005 | -1.0202 | 4e-05 | 1.4584 | 0.000273 | 0.000109 | 1.9929 | 19.66
#0000046 | 7.6 | 2021-06-10 17:52 | 8.56 | 21.36 | 51 | 1.1624 | 4.7e-05 | -0.53404 | 0.000442 | -1.0204 | 4.2e-05 | 1.4585 | 0.000126 | 0.000149 | 1.9929 | 19.66
#0000047 | 7.6 | 2021-06-10 17:53 | 8.57 | 21.1 | 51 | 1.1628 | 5.3e-05 | -0.53387 | 0.000383 | -1.0206 | 3.9e-05 | 1.4585 | 0.000233 | 0.000134 | 1.9929 | 19.649
#0000048 | 7.6 | 2021-06-10 17:53 | 8.57 | 21.23 | 51 | 1.1628 | 5.1e-05 | -0.53355 | 0.000442 | -1.0206 | 4.7e-05 | 1.459 | 0.000157 | 0.000144 | 1.9929 | 19.651
#0000049 | 7.4 | 2021-06-10 17:53 | 8.57 | 21.36 | 51 | 1.1632 | 4.2e-05 | -0.5447 | 0.000534 | -1.031 | 5.3e-05 | 1.4486 | 0.000565 | 6e-05 | 1.9929 | 19.639
#0000050 | 7.4 | 2021-06-10 17:53 | 8.56 | 21.36 | 51 | 1.1633 | 5.7e-05 | -0.54484 | 0.000565 | -1.0323 | 3e-05 | 1.4478 | 0.000177 | 0.000109 | 1.9929 | 19.636
#0000051 | 7.4 | 2021-06-10 17:53 | 8.56 | 21.23 | 51 | 1.1626 | 5.2e-05 | -0.54492 | 0.000464 | -1.0325 | 5.1e-05 | 1.4475 | 0.000314 | 0.000125 | 1.9929 | 19.654
#0000052 | 7.4 | 2021-06-10 17:54 | 8.56 | 20.85 | 51 | 1.1627 | 4.9e-05 | -0.54484 | 0.000579 | -1.0326 | 5e-05 | 1.4477 | 0.000328 | 7.5e-05 | 1.9929 | 19.651
#0000053 | 7.4 | 2021-06-10 17:54 | 8.56 | 21.23 | 51 | 1.1628 | 5.1e-05 | -0.5437 | 0.001053 | -1.0327 | 4.8e-05 | 1.4489 | 0.000297 | 5.4e-05 | 1.9929 | 19.651
#0000054 | 7.4 | 2021-06-10 17:54 | 8.56 | 20.85 | 51 | 1.1627 | 5.2e-05 | -0.54378 | 0.000604 | -1.0327 | 5.2e-05 | 1.4486 | 0.000268 | 0.000128 | 1.9929 | 19.652
#0000055 | UNK | 2021-06-10 17:54 | 8.56 | 21.23 | 51 | 1.1652 | 0.000183 | -0.85054 | 0.000414 | -1.369 | 2.8e-05 | 1.1431 | 0.000201 | 0.000167 | 1.9927 | 19.582
#0000056 | UNK | 2021-06-10 17:54 | 8.56 | 21.1 | 51 | 1.1808 | 0.000132 | -0.85459 | 0.000543 | -1.3704 | 3.4e-05 | 1.1387 | 0.000215 | 0.000214 | 1.9927 | 19.131
#0000057 | UNK | 2021-06-10 17:54 | 8.56 | 21.23 | 51 | 1.1879 | 6.2e-05 | -0.86165 | 0.000558 | -1.3709 | 2.9e-05 | 1.1317 | 0.000238 | 0.00018 | 1.9928 | 18.928
#0000058 | UNK | 2021-06-10 17:54 | 8.56 | 21.62 | 51 | 1.192 | 4.2e-05 | -0.86771 | 0.00051 | -1.3713 | 4.3e-05 | 1.1257 | 0.000187 | 0.000208 | 1.9927 | 18.811
#0000059 | UNK | 2021-06-10 17:55 | 8.56 | 20.85 | 51 | 1.1947 | 5.5e-05 | -0.87249 | 0.000501 | -1.3716 | 5.2e-05 | 1.1211 | 0.000212 | 0.000187 | 1.9928 | 18.735
#0000060 | UNK | 2021-06-10 17:55 | 8.55 | 21.49 | 51 | 1.1964 | 4.2e-05 | -0.87325 | 0.000639 | -1.3718 | 4.1e-05 | 1.1204 | 0.000164 | 0.000161 | 1.9927 | 18.688
#0000061 | 8.2 | 2021-06-10 17:55 | 8.56 | 20.85 | 51 | 1.1962 | 0.000211 | -0.50803 | 0.000263 | -0.99332 | 0.000415 | 1.4855 | 6.4e-05 | 5.1e-05 | 1.993 | 18.692
#0000062 | 8.2 | 2021-06-10 17:55 | 8.56 | 21.62 | 51 | 1.1802 | 0.000197 | -0.50218 | 0.000457 | -0.98683 | 6.8e-05 | 1.4905 | 0.000108 | 0.000125 | 1.9929 | 19.149
#0000063 | 8.2 | 2021-06-10 17:55 | 8.56 | 21.36 | 51 | 1.1732 | 0.000105 | -0.49989 | 0.000395 | -0.98581 | 4.8e-05 | 1.4928 | 0.000172 | 0.000112 | 1.9929 | 19.351
#0000064 | 8.2 | 2021-06-10 17:55 | 8.58 | 21.23 | 51 | 1.1694 | 8.1e-05 | -0.49808 | 0.000433 | -0.98533 | 5.2e-05 | 1.4944 | 0.000231 | 5.9e-05 | 1.9929 | 19.461
#0000065 | 8.2 | 2021-06-10 17:56 | 8.57 | 21.23 | 51 | 1.1673 | 6.9e-05 | -0.49673 | 0.000449 | -0.98503 | 5.4e-05 | 1.4958 | 0.000234 | 9.2e-05 | 1.9929 | 19.52
#0000066 | 8.2 | 2021-06-10 17:56 | 8.56 | 21.23 | 51 | 1.1661 | 6e-05 | -0.49555 | 0.000466 | -0.98481 | 5.3e-05 | 1.4971 | 0.000273 | 7.1e-05 | 1.9929 | 19.556
#0000067 | UNK | 2021-06-10 17:56 | 8.56 | 21.23 | 51 | 1.1663 | 8.9e-05 | -0.85591 | 0.000663 | -1.3679 | 7.4e-05 | 1.1377 | 0.000115 | 8.5e-05 | 1.9926 | 19.548
#0000068 | UNK | 2021-06-10 17:56 | 8.56 | 21.62 | 51 | 1.1812 | 0.000151 | -0.86135 | 0.000545 | -1.3703 | 3.7e-05 | 1.1321 | 0.000254 | 0.000176 | 1.9927 | 19.121
#0000069 | UNK | 2021-06-10 17:56 | 8.55 | 21.1 | 51 | 1.1896 | 5.5e-05 | -0.86696 | 0.000524 | -1.3711 | 3.6e-05 | 1.1263 | 0.000224 | 0.000207 | 1.9927 | 18.881
#0000070 | UNK | 2021-06-10 17:56 | 8.56 | 21.23 | 51 | 1.1931 | 4.2e-05 | -0.87138 | 0.000454 | -1.3715 | 4e-05 | 1.1222 | 0.000189 | 0.0002 | 1.9927 | 18.782
#0000071 | UNK | 2021-06-10 17:57 | 8.57 | 21.23 | 51 | 1.1952 | 4.3e-05 | -0.87497 | 0.000473 | -1.3718 | 5.7e-05 | 1.1185 | 0.000227 | 0.00018 | 1.9927 | 18.72
#0000072 | UNK | 2021-06-10 17:57 | 8.56 | 21.23 | 51 | 1.1969 | 4.4e-05 | -0.87779 | 0.000458 | -1.3721 | 4.6e-05 | 1.1158 | 0.00025 | 0.000177 | 1.9927 | 18.672
#0000073 | 8.2 | 2021-06-10 17:57 | 8.56 | 21.23 | 51 | 1.1968 | 0.000177 | -0.50977 | 0.000137 | -0.9932 | 0.000393 | 1.4834 | 4.4e-05 | 0.00011 | 1.993 | 18.677
#0000074 | 8.2 | 2021-06-10 17:57 | 8.55 | 21.1 | 51 | 1.1823 | 0.00019 | -0.50365 | 0.000373 | -0.98698 | 5.8e-05 | 1.489 | 0.00013 | 0.000118 | 1.9929 | 19.088
#0000075 | 8.2 | 2021-06-10 17:57 | 8.56 | 21.23 | 51 | 1.1744 | 0.000108 | -0.50133 | 0.000335 | -0.98597 | 5.7e-05 | 1.4912 | 0.000154 | 0.000125 | 1.9929 | 19.315
#0000076 | 8.2 | 2021-06-10 17:58 | 8.56 | 21.23 | 51 | 1.171 | 8e-05 | -0.4995 | 0.000468 | -0.98547 | 4.9e-05 | 1.4932 | 0.000151 | 8.5e-05 | 1.9929 | 19.412
#0000077 | 8.2 | 2021-06-10 17:58 | 8.55 | 21.49 | 51 | 1.1688 | 6.8e-05 | -0.49801 | 0.000366 | -0.98516 | 5.5e-05 | 1.4945 | 0.000188 | 0.000116 | 1.9929 | 19.477
#0000078 | 8.2 | 2021-06-10 17:58 | 8.56 | 21.23 | 51 | 1.1673 | 6.5e-05 | -0.49677 | 0.00048 | -0.98493 | 5.3e-05 | 1.4958 | 0.000116 | 0.000106 | 1.9929 | 19.521
#0000079 | UNK | 2021-06-10 17:58 | 8.56 | 21.36 | 51 | 1.1667 | 5.3e-05 | -0.85877 | 0.000454 | -1.3676 | 0.000218 | 1.1352 | 0.000309 | 0.000156 | 1.9926 | 19.539
#0000080 | UNK | 2021-06-10 17:58 | 8.56 | 20.85 | 51 | 1.1801 | 0.000173 | -0.86145 | 0.000418 | -1.3705 | 3.4e-05 | 1.132 | 0.000156 | 0.000204 | 1.9927 | 19.153
#0000081 | UNK | 2021-06-10 17:58 | 8.56 | 21.23 | 51 | 1.1889 | 5.8e-05 | -0.86707 | 0.000516 | -1.3712 | 3.5e-05 | 1.1264 | 0.000212 | 0.000148 | 1.9927 | 18.9
#0000082 | UNK | 2021-06-10 17:58 | 8.55 | 21.62 | 51 | 1.1928 | 4.2e-05 | -0.87217 | 0.000465 | -1.3716 | 4e-05 | 1.1214 | 0.000168 | 0.000195 | 1.9927 | 18.791
#0000083 | UNK | 2021-06-10 17:59 | 8.56 | 21.1 | 51 | 1.1951 | 4.3e-05 | -0.87583 | 0.000455 | -1.3719 | 3.7e-05 | 1.1178 | 0.000212 | 0.000179 | 1.9928 | 18.725
#0000084 | UNK | 2021-06-10 17:59 | 8.56 | 21.1 | 51 | 1.196 | 4.6e-05 | -0.87869 | 0.000454 | -1.3721 | 5.1e-05 | 1.115 | 0.000214 | 0.000173 | 1.9927 | 18.697
#0000085 | 8.2 | 2021-06-10 17:59 | 8.56 | 21.23 | 51 | 1.196 | 0.000192 | -0.51126 | 0.000258 | -0.99226 | 0.000334 | 1.482 | 5.5e-05 | 0.000106 | 1.993 | 18.697
#0000086 | 8.2 | 2021-06-10 17:59 | 8.55 | 21.23 | 51 | 1.1817 | 0.000185 | -0.50524 | 0.000398 | -0.9867 | 6e-05 | 1.4875 | 0.000108 | 0.000115 | 1.993 | 19.105
#0000087 | 8.2 | 2021-06-10 17:59 | 8.55 | 21.36 | 51 | 1.1742 | 0.000106 | -0.50257 | 0.000445 | -0.98557 | 5.3e-05 | 1.4901 | 0.000215 | 7.8e-05 | 1.9929 | 19.322
#0000088 | 8.2 | 2021-06-10 18:00 | 8.54 | 21.49 | 51 | 1.1707 | 7.5e-05 | -0.50056 | 0.000364 | -0.98505 | 5.2e-05 | 1.492 | 0.000123 | 0.000138 | 1.9929 | 19.421
#0000089 | 8.2 | 2021-06-10 18:00 | 8.56 | 21.23 | 51 | 1.1691 | 6.6e-05 | -0.49888 | 0.00046 | -0.98481 | 5.6e-05 | 1.4938 | 0.000253 | 9.4e-05 | 1.9929 | 19.469
#0000090 | 8.2 | 2021-06-10 18:00 | 8.56 | 21.36 | 51 | 1.1677 | 6.1e-05 | -0.49714 | 0.000366 | -0.98458 | 4.6e-05 | 1.4954 | 0.000128 | 0.000123 | 1.9929 | 19.508

## NFTST03_Noise
Pump off, then on, 60s cycles
. | Sample Time | Main Batt | Env Temp | Env Humidity | Vtherm | Vtherm std | Vint Offset | Vint Offset Std | Vext Offset | Vext Offset Std | Vcntr E | Vcntr E Std | Icntr Elec | Substrate Leak | pH Temp
#0000000 | 2021-06-10 18:23 | 8.56 | 20.72 | 52 | 1.1605 | 5e-05 | -0.40743 | 0.000564 | -0.98457 | 5.2e-05 | 1.5845 | 0.000257 | 0.000124 | 1.9932 | 19.716
#0000001 | 2021-06-10 18:24 | 8.56 | 20.85 | 52 | 1.1608 | 4.9e-05 | -0.41197 | 0.000529 | -0.9844 | 4.2e-05 | 1.5801 | 0.000241 | 0.000123 | 1.9931 | 19.708
#0000002 | 2021-06-10 18:24 | 8.58 | 20.85 | 52 | 1.1609 | 5.2e-05 | -0.41316 | 0.000525 | -0.98442 | 4.9e-05 | 1.5789 | 0.000245 | 0.000111 | 1.9931 | 19.704
#0000003 | 2021-06-10 18:24 | 8.56 | 20.46 | 52 | 1.1607 | 5.5e-05 | -0.41452 | 0.000523 | -0.98439 | 4.6e-05 | 1.5775 | 0.000223 | 0.000106 | 1.9931 | 19.711
#0000004 | 2021-06-10 18:24 | 8.56 | 20.85 | 52 | 1.1608 | 5.3e-05 | -0.41552 | 0.00054 | -0.98443 | 5.4e-05 | 1.5765 | 0.000232 | 0.000116 | 1.9931 | 19.707
#0000005 | 2021-06-10 18:24 | 8.57 | 21.23 | 52 | 1.161 | 4.9e-05 | -0.41634 | 0.000534 | -0.98439 | 5.1e-05 | 1.5757 | 0.000237 | 0.000112 | 1.9931 | 19.702
#0000006 | 2021-06-10 18:24 | 8.56 | 20.98 | 52 | 1.1609 | 5.1e-05 | -0.41723 | 0.000521 | -0.98439 | 4.7e-05 | 1.5748 | 0.000238 | 0.000111 | 1.9931 | 19.704
#0000007 | 2021-06-10 18:24 | 8.57 | 20.98 | 52 | 1.1612 | 5e-05 | -0.41771 | 0.000515 | -0.98438 | 4.2e-05 | 1.5743 | 0.000233 | 0.000121 | 1.9931 | 19.697
#0000008 | 2021-06-10 18:25 | 8.55 | 21.1 | 52 | 1.161 | 5e-05 | -0.4182 | 0.000517 | -0.98438 | 4.8e-05 | 1.5739 | 0.000233 | 0.000118 | 1.9931 | 19.701
#0000009 | 2021-06-10 18:25 | 8.59 | 20.85 | 52 | 1.161 | 5.5e-05 | -0.41862 | 0.000522 | -0.98436 | 5.2e-05 | 1.5734 | 0.000232 | 0.000109 | 1.9931 | 19.703
#0000010 | 2021-06-10 18:25 | 8.57 | 20.85 | 52 | 1.1611 | 4.6e-05 | -0.41892 | 0.000522 | -0.98435 | 5.4e-05 | 1.5731 | 0.000235 | 0.000121 | 1.9931 | 19.698
#0000011 | 2021-06-10 18:25 | 8.56 | 20.85 | 52 | 1.161 | 5e-05 | -0.41921 | 0.000518 | -0.98433 | 5.4e-05 | 1.5729 | 0.000239 | 0.000119 | 1.9931 | 19.703
#0000012 | 2021-06-10 18:25 | 8.56 | 20.85 | 52 | 1.1612 | 5.3e-05 | -0.41938 | 0.000522 | -0.98431 | 5.2e-05 | 1.5727 | 0.00024 | 0.000117 | 1.9931 | 19.696
#0000013 | 2021-06-10 18:26 | 8.56 | 21.23 | 52 | 1.1612 | 5.1e-05 | -0.41965 | 0.000542 | -0.98431 | 4.2e-05 | 1.5724 | 0.000243 | 0.000118 | 1.9931 | 19.695
#0000014 | 2021-06-10 18:26 | 8.56 | 20.85 | 52 | 1.1613 | 5.4e-05 | -0.41994 | 0.000529 | -0.9843 | 5.4e-05 | 1.5721 | 0.00024 | 0.000124 | 1.9931 | 19.695
#0000015 | 2021-06-10 18:26 | 8.56 | 20.85 | 52 | 1.161 | 5e-05 | -0.42037 | 0.000543 | -0.9843 | 5.4e-05 | 1.5716 | 0.000241 | 0.000125 | 1.9931 | 19.701
#0000016 | 2021-06-10 18:26 | 8.56 | 20.85 | 52 | 1.1612 | 5.3e-05 | -0.42049 | 0.00052 | -0.9843 | 5.1e-05 | 1.5716 | 0.00024 | 0.000115 | 1.9931 | 19.696
#0000017 | 2021-06-10 18:26 | 8.56 | 21.1 | 52 | 1.161 | 5.4e-05 | -0.42041 | 0.000525 | -0.98426 | 5.3e-05 | 1.5717 | 0.000231 | 0.000121 | 1.9931 | 19.703
#0000018 | 2021-06-10 18:26 | 8.56 | 20.85 | 52 | 1.1613 | 6.6e-05 | -0.42038 | 0.000524 | -0.98428 | 5.1e-05 | 1.5717 | 0.000227 | 0.000115 | 1.9931 | 19.693
#0000019 | 2021-06-10 18:26 | 8.57 | 20.98 | 52 | 1.1611 | 5.2e-05 | -0.4204 | 0.000522 | -0.98426 | 5.5e-05 | 1.5717 | 0.000239 | 0.000115 | 1.9931 | 19.7
#0000020 | 2021-06-10 18:27 | 8.56 | 20.85 | 52 | 1.161 | 5.4e-05 | -0.42041 | 0.000524 | -0.98426 | 5.6e-05 | 1.5717 | 0.000249 | 0.000119 | 1.9931 | 19.701
#0000021 | 2021-06-10 18:27 | 8.56 | 20.85 | 52 | 1.1613 | 5.3e-05 | -0.42044 | 0.000519 | -0.98428 | 6e-05 | 1.5716 | 0.000239 | 0.000112 | 1.9931 | 19.693
#0000022 | 2021-06-10 18:27 | 8.58 | 20.85 | 52 | 1.1614 | 4.9e-05 | -0.42042 | 0.000511 | -0.98424 | 5.5e-05 | 1.5717 | 0.000237 | 0.000115 | 1.9931 | 19.691
#0000023 | 2021-06-10 18:27 | 8.56 | 20.72 | 52 | 1.1613 | 5.2e-05 | -0.42032 | 0.000529 | -0.98422 | 5.7e-05 | 1.5717 | 0.000232 | 0.000112 | 1.9931 | 19.694
#0000024 | 2021-06-10 18:27 | 8.56 | 20.85 | 52 | 1.1614 | 4.9e-05 | -0.42026 | 0.000519 | -0.98422 | 4.9e-05 | 1.5718 | 0.000248 | 0.000122 | 1.9931 | 19.689
#0000025 | 2021-06-10 18:27 | 8.58 | 20.98 | 52 | 1.1613 | 5e-05 | -0.42012 | 0.000521 | -0.98423 | 4.6e-05 | 1.572 | 0.00024 | 0.000119 | 1.9931 | 19.694
#0000026 | 2021-06-10 18:28 | 8.56 | 20.72 | 52 | 1.1615 | 7.1e-05 | -0.42008 | 0.000517 | -0.98421 | 5.2e-05 | 1.572 | 0.000244 | 0.000117 | 1.9931 | 19.689
#0000027 | 2021-06-10 18:28 | 8.56 | 20.85 | 52 | 1.1615 | 5.2e-05 | -0.42009 | 0.000513 | -0.98421 | 4.5e-05 | 1.572 | 0.000238 | 0.00012 | 1.9931 | 19.687
#0000028 | 2021-06-10 18:28 | 8.55 | 20.85 | 52 | 1.1614 | 5e-05 | -0.42003 | 0.000529 | -0.98421 | 4.7e-05 | 1.572 | 0.000231 | 0.000126 | 1.9931 | 19.691
#0000029 | 2021-06-10 18:28 | 8.57 | 20.98 | 52 | 1.1614 | 5.5e-05 | -0.42001 | 0.00053 | -0.98421 | 4.7e-05 | 1.5721 | 0.000238 | 0.000117 | 1.9931 | 19.691
#0000030 | 2021-06-10 18:28 | 8.55 | 21.23 | 52 | 1.1615 | 5e-05 | -0.42012 | 0.00052 | -0.9842 | 4.6e-05 | 1.5719 | 0.000237 | 0.000122 | 1.9931 | 19.688
#0000031 | 2021-06-10 18:28 | 8.54 | 21.1 | 53 | 1.1613 | 5e-05 | -0.42017 | 0.000522 | -0.98418 | 6.5e-05 | 1.5719 | 0.000232 | 0.000125 | 1.9931 | 19.694
#0000032 | 2021-06-10 18:29 | 8.55 | 20.85 | 52 | 1.1615 | 5.1e-05 | -0.42008 | 0.000517 | -0.98415 | 5.4e-05 | 1.572 | 0.000242 | 0.000116 | 1.9931 | 19.689
#0000033 | 2021-06-10 18:29 | 8.56 | 21.23 | 52 | 1.1613 | 4.9e-05 | -0.41999 | 0.000531 | -0.98413 | 4.5e-05 | 1.5721 | 0.000227 | 0.000112 | 1.9931 | 19.693
#0000034 | 2021-06-10 18:29 | 8.55 | 20.98 | 52 | 1.1614 | 5e-05 | -0.41993 | 0.000529 | -0.98415 | 4.8e-05 | 1.5721 | 0.000232 | 0.000126 | 1.9931 | 19.69
#0000035 | 2021-06-10 18:29 | 8.55 | 20.85 | 52 | 1.1614 | 4.9e-05 | -0.41986 | 0.000518 | -0.98413 | 4.9e-05 | 1.5722 | 0.000234 | 0.000114 | 1.9931 | 19.689
#0000036 | 2021-06-10 18:29 | 8.56 | 21.23 | 52 | 1.1614 | 4.9e-05 | -0.4198 | 0.000524 | -0.98412 | 4.2e-05 | 1.5723 | 0.000231 | 0.000121 | 1.9931 | 19.691
#0000037 | 2021-06-10 18:29 | 8.55 | 20.85 | 52 | 1.1615 | 5e-05 | -0.42207 | 0.000494 | -0.98405 | 4.4e-05 | 1.5701 | 0.000224 | 0.00011 | 1.9931 | 19.689
[9 empty] | -0.98428 | 5.0263e-05
[9 empty] | 0.00010432 | 5.1539e-06
5.1e-05

## MF146vsISFETadapt fields
Standard mFET 146: K2box DB15
Date Time | Ext Ref Off | Int Ref Off | Ext Ref V | Int Ref V | CntrE Cur | CntrE Volt | Subst Cur | Subst Vol | Thermistor
2021-06-10 16:53 | 0.54801 | 0.078481 | -0.51713 | -0.98628 | 0.00441 | -0.98893 | -0.000189 | 0.0003 | 1.2167
2021-06-10 16:53 | 0.548 | 0.078517 | -0.51721 | -0.98598 | 0.004006 | -0.70554 | 0.000399 | 0.000296 | 1.2062
2021-06-10 16:53 | 0.54794 | 0.0798 | -0.51726 | -0.98571 | 0.003694 | -0.6576 | 0.00645 | 0.000293 | 1.1843
2021-06-10 16:53 | 0.54785 | 0.078123 | -0.51732 | -0.98713 | 0.003697 | -0.64315 | 0.003575 | 0.000297 | 1.1677
2021-06-10 16:54 | 0.54781 | 0.077262 | -0.51737 | -0.98784 | 0.00368 | -0.63525 | 0.006594 | 0.000296 | 1.1572
2021-06-10 16:54 | 0.54776 | -0.31095 | -0.51742 | -1.3795 | 0.004332 | -1.0066 | 0.000734 | 0.000279 | 1.1494
2021-06-10 16:54 | 0.54769 | -0.32021 | -0.51747 | -1.3851 | 0.004778 | -0.99403 | 0.00093 | 0.000304 | 1.1439
2021-06-10 16:54 | 0.54766 | -0.32144 | -0.51752 | -1.3864 | 0.004869 | -1.0037 | 0.001365 | 0.000302 | 1.1407
2021-06-10 16:54 | 0.54761 | -0.32181 | -0.51756 | -1.3872 | 0.004873 | -1.0276 | -0.003443 | 0.000301 | 1.1395
2021-06-10 16:54 | 0.54758 | -0.10249 | -0.5176 | -1.1198 | 0.004171 | -0.70636 | -0.000723 | 0.000264 | 1.1405
2021-06-10 16:54 | 0.54753 | 0.06108 | -0.51765 | -1.003 | 0.003676 | -0.61903 | 0.002026 | 0.000298 | 1.1382
2021-06-10 16:54 | 0.54749 | 0.06788 | -0.51769 | -0.99628 | 0.003781 | -0.61543 | 0.00347 | 0.000302 | 1.1333
2021-06-10 16:54 | 0.54746 | 0.071294 | -0.51772 | -0.99375 | 0.003699 | -0.61331 | 0.002766 | 0.000295 | 1.1305
Isfet Adapter board (read EXT REF OFF as if it were Vint, Vk is real, CntrI = Cntr Curr - Cntr E Volt)
Date Time | Ext Ref Off | Int Ref Off | Ext Ref V | Int Ref V | CntrE Cur | CntrE Volt | Subst Cur | Subst Vol | Thermistor
2021-06-10 16:38 | -1.1579 | -0.55398 | 0.83798 | 1.4392 | 0.000125 | 1.4374 | 1.9933 | 1.9925 | 1.1759
2021-06-10 16:38 | -1.156 | -0.57354 | 0.84001 | 1.4194 | 0.000126 | 1.4181 | 1.9903 | 1.9926 | 1.1762
2021-06-10 16:38 | -1.0229 | -0.45157 | 0.9732 | 1.5427 | 0.000149 | 1.5441 | 1.9902 | 1.9926 | 1.169 |  | -1.0229 | 0.08 | 1.1029
2021-06-10 16:38 | -1.0061 | -0.44362 | 0.98904 | 1.548 | 0.000107 | 1.5483 | 1.9877 | 1.9925 | 1.1566 |  | -1.0061 | 0.08 | 1.0861
2021-06-10 16:38 | -1.0027 | -0.44625 | 0.99249 | 1.548 | 8.6e-05 | 1.5474 | 1.9895 | 1.9925 | 1.1417 |  | -1.0027 | 0.08 | 1.0827
2021-06-10 16:38 | -1.0006 | -0.44562 | 0.99517 | 1.547 | 7.7e-05 | 1.5469 | 1.9911 | 1.9925 | 1.1304 |  | -1.0006 | 0.08 | 1.0806 | 0.0087884
2021-06-10 16:39 | -0.99874 | -0.44693 | 0.99641 | 1.5447 | 8.6e-05 | 1.5425 | 1.9886 | 1.9925 | 1.1246
2021-06-10 16:39 | -1.3963 | -0.81829 | 0.59839 | 1.1771 | 0.000145 | 1.178 | 1.9881 | 1.9925 | 1.1204 |  | -1.3963 | -0.3 | 1.0963
2021-06-10 16:39 | -1.3985 | -0.8195 | 0.59771 | 1.1732 | 0.000131 | 1.1727 | 1.9877 | 1.9925 | 1.1174 |  | -1.3985 | -0.3 | 1.0985
2021-06-10 16:39 | -1.3992 | -0.8278 | 0.59622 | 1.1673 | 0.000145 | 1.1667 | 1.9864 | 1.9925 | 1.1151 |  | -1.3992 | -0.3 | 1.0992
2021-06-10 16:39 | -1.3995 | -0.8332 | 0.59491 | 1.1614 | 0.000128 | 1.1611 | 1.9886 | 1.9925 | 1.1129 |  | -1.3995 | -0.3 | 1.0995
2021-06-10 16:39 | -1.4028 | -0.84166 | 0.59418 | 1.1532 | 0.000129 | 1.1525 | 1.9895 | 1.9926 | 1.1117 |  | -1.4028 | -0.3 | 1.1028
2021-06-10 16:39 | -1.4023 | -0.86391 | 0.59368 | 1.1307 | 0.000139 | 1.1294 | 1.9865 | 1.9925 | 1.1113 |  | -1.4023 | -0.3 | 1.1023
2021-06-10 16:39 | -1.4011 | -0.88135 | 0.59518 | 1.1129 | 0.000148 | 1.1108 | 1.9862 | 1.9925 | 1.1114 |  | -1.4011 | -0.3 | 1.1011 | 0.0021189
2021-06-10 16:39 | -1.1328 | -0.57924 | 0.90128 | 1.4645 | 7.7e-05 | 1.4934 | 1.991 | 1.9926 | 1.1124
2021-06-10 16:39 | -1.012 | -0.47104 | 0.98377 | 1.5236 | 8e-05 | 1.5246 | 1.9889 | 1.9925 | 1.1119
2021-06-10 16:39 | -1.0069 | -0.4625 | 0.98855 | 1.532 | -3.3e-05 | 1.5327 | 1.9908 | 1.9925 | 1.1107
2021-06-10 16:39 | -1.0031 | -0.45874 | 0.99247 | 1.5353 | 0.000237 | 1.529 | 1.9894 | 1.9925 | 1.1111
2021-06-10 16:40 | -1.0018 | -0.46617 | 0.99363 | 1.5282 | 0.00014 | 1.5285 | 1.9896 | 1.9926 | 1.1103
2021-06-10 16:40 | -1.0007 | -0.46395 | 0.99469 | 1.5297 | 8.9e-05 | 1.5299 | 1.9892 | 1.9926 | 1.1098
2021-06-10 16:40 | -1.0005 | -0.47277 | 0.9949 | 1.5196 | 5.3e-05 | 1.5179 | 1.9924 | 1.9925 | 1.1103
2021-06-10 16:40 | -1.0004 | -0.48929 | 0.99494 | 1.5036 | 3.1e-05 | 1.5015 | 1.9924 | 1.9926 | 1.1124
2021-06-10 16:40 | -1.0008 | -0.50848 | 0.99451 | 1.4841 | 3.4e-05 | 1.4827 | 1.9924 | 1.9925 | 1.1137
2021-06-10 16:40 | -0.99882 | -0.5224 | 0.99635 | 1.4702 | 9.5e-05 | 1.469 | 1.986 | 1.9925 | 1.1141
2021-06-10 16:40 | -0.99817 | -0.53689 | 0.99716 | 1.4561 | 9.3e-05 | 1.4549 | 1.9848 | 1.9926 | 1.1158
2021-06-10 16:40 | -0.91597 | -0.47162 | 1.0871 | 1.529 | 0.053339 | 1.5323 | 1.6943 | 1.9925 | 1.1187
2021-06-10 16:40 | -0.90467 | -0.46951 | 1.0991 | 1.5257 | 0.058526 | 1.5161 | 1.717 | 1.993 | 1.1218
2021-06-10 16:40 | -0.97688 | -0.54495 | 1.0542 | 1.473 | 0.055153 | 1.4327 | 1.9245 | 1.994 | 1.1248 | Light intrusion (solution might've not been on surface of ISFET)
2021-06-10 16:40 | -0.86127 | -0.45834 | 1.1361 | 1.5402 | 0.079002 | 1.54 | 1.6201 | 1.9967 | 1.1279
2021-06-10 16:40 | -0.85761 | -0.46533 | 1.1437 | 1.5322 | 0.084486 | 1.5307 | 1.6134 | 1.9983 | 1.1307
2021-06-10 16:41 | -0.99908 | -0.60913 | 1.001 | 1.3888 | 0.064043 | 1.3881 | 1.9869 | 1.997 | 1.133
2021-06-10 16:41 | -0.99506 | -0.628 | 1.0083 | 1.3734 | 0.079456 | 1.3731 | 1.9988 | 1.9988 | 1.1353
2021-06-10 16:41 | -1.0041 | -0.6199 | 0.99127 | 1.3739 | 4e-05 | 1.3735 | 1.9924 | 1.9925 | 1.137
2021-06-10 16:41 | -1.0013 | -0.52237 | 0.99447 | 1.4732 | 8.5e-05 | 1.4743 | 1.9894 | 1.9925 | 1.1346
2021-06-10 16:41 | -0.99924 | -0.50614 | 0.99611 | 1.4871 | 7.9e-05 | 1.4865 | 1.9884 | 1.9925 | 1.1258
2021-06-10 16:41 | -0.99982 | -0.50395 | 0.99615 | 1.4911 | 9.5e-05 | 1.4914 | 1.9879 | 1.9925 | 1.1188
2021-06-10 16:41 | -0.99797 | -0.49473 | 0.99739 | 1.4987 | 7e-05 | 1.4996 | 1.983 | 1.9925 | 1.1142
0.0016573

## MF146 OG Header
A -- Sample Num = 1
B -- MM/DD/YYYY HH:MM:SS = 1
C -- Battery Volt = 1
D -- Board Temp = 1
E -- Humidity = 1
F -- Pressure = 0
G -- Vthermistor = 1
H -- Vtermistor Std = 1
I -- Vint Offset = 0
J -- Vint Offset Std = 0
K -- Vext Offset = 0
L -- Vext Offset Std = 0
M -- Vint = 0
N -- Vint Std = 0
O -- Vext Ref = 1
P -- Vext Ref Std = 1
Q -- Vcounter Electrode = 1
R -- Vcounter Electrode Std = 1
S -- Counter Electrode Current = 1
T -- Substrate Current = 1
U -- Calc Temperature = 1
V -- Estimated pH Int = 0
W -- Estimated pH Ext = 0
X -- Optode = 0
Z -- Fast Mode = 1
0 -- Zero (Clear) all config fields
1 -- Set all config fields
2 -- Use Case: GLIDER | fields (A | B | C | O | P | Q | R | S | T | Z)
9 -- Exit to Main Menu
Enter Selection [9]:

## MF146 ISFETADAPT HEADER
A -- Sample Num = 1
B -- MM/DD/YYYY HH:MM:SS = 1
C -- Battery Volt = 1
D -- Board Temp = 1
E -- Humidity = 1
F -- Pressure = 0
G -- Vthermistor = 1
H -- Vtermistor Std = 1
I -- Vint Offset = 1
J -- Vint Offset Std = 1
K -- Vext Offset = 1
L -- Vext Offset Std = 1
M -- Vint = 0
N -- Vint Std = 0
O -- Vext Ref = 0
P -- Vext Ref Std = 0
Q -- Vcounter Electrode = 1
R -- Vcounter Electrode Std = 1
S -- Counter Electrode Current = 1
T -- Substrate Current = 1
U -- Calc Temperature = 1
V -- Estimated pH Int = 0
W -- Estimated pH Ext = 0
X -- Optode = 0
Z -- Fast Mode = 1
0 -- Zero (Clear) all config fields
1 -- Set all config fields
2 -- Use Case: GLIDER | fields (A | B | C | O | P | Q | R | S | T | Z)
9 -- Exit to Main Menu
Enter Selection [9]:

## Output
Sample # | Sample Time | Main Batt | Env Temp | Env Humidity | Vtherm | Vtherm std | Vint Offset | Vint Offset Std | Vext Offset | Vext Offset Std | Vcntr E | Vcntr E Std | Icntr Elec | Substrate Leak | pH Temp
#0000000 | 2021-06-10 17:28 | 8.66 | 22.01 | 50 | 1.136 | 5.5e-05 | -0.7981 | 0.00031 | -1.1619 | 4.2e-05 | 1.1957 | 0.000126 | 0.000203 | 1.9858 | 20.431
#0000001 | 2021-06-10 17:28 | 8.65 | 21.88 | 50 | 1.1359 | 5e-05 | -0.79751 | 0.000303 | -1.162 | 5.1e-05 | 1.1964 | 0.000137 | 0.000195 | 1.986 | 20.435