## Slide 1: Non-Isolated Testing Results (so far….)
Ben Werb, Joe Warren, Luke Beatman

## Slide 2
Non-Isolated NanoFET Story
  Original weirdness with some Rework required
  SBE10343 and NanoFET A001002 in HCl
    Figure for stability over time Stir and Bath (Theoretically a lot of noise)
  Kloehn pump signal on Ik and Vk SBE10343 and NanoFET A001002 in HCl
    Generate Figure with some notes from Luke on timing
  DF403 and A001001 had issues
    Wet lab figure (Werb’s box data)
    Beaker figure (no bath, still bad)
    Check board w/ Jensenian = ok
    Check A001001 (Board from DF403) with SBE_10343 and OK (figures from BenchTest_07242025_A001001_SBE10343_A001002_DF403
    Clean DF403 and redeploy with A001002 = OK (have this plot and show warmup portion, figure for stability is trimmed of warmup)
    Swap A001001 and A001002 (need to plot this with longer time series BenchTest_07282025_A001001_DF403_A001002_SBE10343)

## Slide 3: Rework Required!
Wake/Reset Circuit had issues.
Was affecting measurement values

## Slide 4: SBE10343 and NanoFET A001002 in HCl w/Stir and 20C Bath

## Slide 5: SBE10343 and NanoFET A001002 in HCl w/Stir and 20C Bath

## Slide 6: SBE10343 and NanoFET A001002 in HCl w/Stir and 20C Bath

## Slide 7
NOW WITH KLOEHN

## Slide 8: SBE10343 and NanoFET A001002 in HCl w/Stir and 20C Bath: Add Kloehn Pump

## Slide 9
Rerun with Kloehn not powered
Rerun with Milligat
Run on BOG cruise Tuesday Underway
  Box vs SP batt vs stuff a 9v into the housing vs mFET controlled (JKW makes/finds cables and setup)
Show the sensor with not plumbed in and then plumbed in and then flow etc (be thorough)

## Slide 10: SBE10343 and NanoFET A001002 in HCl w/Stir and 20C Bath: Add Kloehn Pump

## Slide 11: SBE10343 and NanoFET A001002 in HCl w/Stir and 20C Bath: Add Kloehn Pump

## Slide 12: DF403 is not temperature controlled in following slides. Is in FSW in G119 Beaker

## Slide 13: After Cleaning ISFET

## Slide 14: After Cleaning ISFET

## Slide 21
SWAP SENSORS/BOARDS

## Slide 28: Now both overnight with Jensenian Adapters

## Slide 35: Jensenian swap
Get ready for wet lab for weekend, Boat for Tuesday

## Slide 36: Future work
Redeploy DF403 A001001 in Wet Lab with other isolated ‘control’ sensors
Why is Vk so much lower for DF403 vs SBE_10343, both are at 188
  Overnight Jensenian Test