## Sheet1
Pictures per year | 8760
Hotel power
Energy per year (WHr)
Snappy Controller | 17 |  | 0.0019406 | snappy ave power
|  |  | 0.23288 | snappy energy per 5 days
Energy Per Image (WHr)
Camera | 0.0027 | measured with Yokogawa, also includes snappy energy | 6.264
Strobes (2) | 0.006 | measured SeaStrobe with Yokogawa- this is the energy for two pulsese 20 msec
sum | 0.0087 | as a comparison for the large tripod energy per image is ~400 mWHr
Energy for 8760 images (Whr)
Cam+strobes | 76.212
Total Energy for a year (Whr)
93.212
Li battery pack 4.2 kWhr, this is for 8S/6P pack , so for each 8S (31V) string the energy is about 700 WHr

## Measurements with CanonR6
Energy for one pic | 54.3 | mWHr
Energry taking one image/hr | 85 | mWHr
Hotel load 1 hour | 17 | mWhr
hours in one year | 8760 | hours
hotel load for one year | 148.92 | WHrs
Battery pack (8S1P, DD) | 575 | WHr | Lithium pack from Electrochem, derated 15% for cold
image calculator
images captured per hour | 3
sleep time in min | 57
hours per mission | 3200
total energy | 572.96 | WHr
Energy per Li pack | 575 | WHr

## Sheet2
Energy for one pic | 54.3 | mWHr
Energry taking one image/hr | 85 | mWHr
Hotel load 1 hour | 17 | mWhr
hours in one year | 8760 | hours
hotel load for one year | 148.92 | WHrs
Battery pack (8S1P, DD) | 575 | WHr | 9583.3333
image calculator
images captured per hour | 3
sleep time in min | 57
hours per mission | 3100
total energy | 555.055 | WHr
Energy per Li pack | 575 | WHr