## Slide 1: Resolution
The bottom line is that resolution is a key factor. A7RIII has the resolution to discriminate smaller objects. Obvious in the images to left.
See the 1 mm box in both images. Easy to discriminate. In upper (A7R image, easy to see down to at least 0.1 mm. Great! Gets blurry in A7S at this scale
So, as long as we have the storage capacity, I’d vote for higher res. camera
A7RIII
A7S
1 mm
box

## Slide 2
A7RIII 90 mm ISO 125
A7RIII 50 mm ISO 125
F11
>13 cm
F9
12 cm
F14
>13 cm
F9
6.4 cm
F11
8.9 cm
F14
11.4 cm
Depth of Field (cm)

## Slide 3
A7S 90 mm, ISO64
F9
6.5 cm
F11
9.5 cm
F14
11.2 cm
F7.1
4.9 cm
F18
13 cm
F22
>13 cm
F20
>13 cm
F13
10.8 cm
Depth of Field (cm)

## Slide 4
A7S 50 mm, ISO64
F9
10.1 cm
F10
12 cm
F16
>13 cm
F7.1
9.1 cm
F13
13 cm
Depth of Field (cm)

## Slide 5
A7S 100 mm, ISO64
F9
5.1 cm
F11
6.7 cm
F22
>12 cm
F18
11.5 cm
F14
8.2 cm
Depth of Field (cm)

## Slide 6
100 mm
90 mm
50 mm