## Sheet1
MBARI Advanced-Imaging Infrastructure
CAMERA |  | Sub C | Costs | Sulis | Costs | Deep-Sea Power & Light | Costs | Insite Pacific | Costs | Sony | Costs | TBD | Costs | TBD | Costs | TBD | Costs
| Model | 1 Cam MK6 UHDF |  | Z70 |  |  |  | Mini Zeus 4k Camera
General Comments and Impressions
SPECIFICATIONS
Sensor
| UHD 3840 x 2160 | x |  | x |  |  |  | x
4K 4096 x 2160
HD 1920 x 1080p
Other formats
ProRes HQ (MBARI archival format)
H264 (MBARI mezzanine format)
Housing exists
Housing required
ROV INTEGRATION
Science can
Fiber
Main camera install vs. Temporary (aux) - are there options
Camera control
Video distribution
Monitor considerations
Signal monitoring
Overlay
RECORDER
M3RS Compatible
Other temporary options
Other permanent options
STORAGE
Confirm capacity & date onshore
DEMOS
| MBARI Coordinator | DJ |  | Craig |  | Dale |  | Dale |  | Todd, Dave
Contact
Website
Demo notes/details
Demo date options -not July 1-15 -other exclusions?
TESTING
Mark | Test cables available (10 ft. waterproof video and power/control)?
1. Interface design and ease of installation.
a. Video uplink quality and properties.
b. Control downlink quality and properties.
3. User controls and settings.
a. Smoothness and precision of zoom and focus.
b. Ability to adjust camera settings.
c. Quality and ease of use of control box.
4. Test tank measurement of field of view at 0.5, 1 and 2 meters.
5. Test tank resolution and distortion evaluation.
6. Test tank depth of field evaluation at specified wide open lens iris setting at 0.5 and 1 meters.
7. Test tank color reproduction evaluation.
8. Lab test of light sensitivity.
9. Price and availability.
10. Reputation of the manufacturer and record of customer service on repairs.