# 4K HDTV Camera Evaluation Data

Rev. 1.0 18JUN18 mrc

# Camera

Camera Vendor: SubC	model:

Serial #:

Internal camera module manufacturer: Sony FCB-ER8300?

# Video interface

Uplink media:	SM fiber	Uplink protocol: Fiber to HDMI

# Control interface

Link media:	232/485		Link protocol:

# Camera control interface

Camera settings control evaluation:

# Camera lens control interface

Camera lens settings control evaluation.

Quality of control box:

Camera lens zoom control smoothness:

Camera lens focus control precision:

1. Interface design and ease of installation.

a. Video uplink quality and properties.

b. Control downlink quality and properties.

3. User controls and settings.

a. Smoothness and precision of zoom and focus.

b. Ability to adjust camera settings.

c. Quality and ease of use of control box.

4. Test tank measurement of field of view at 0.5, 1 and 2 meters.

5. Test tank resolution and distortion evaluation. Note that camera has a flat plate front adapter. (not a dome).

6. Test tank depth of field evaluation at specified wide open lens iris setting at 0.5 and 1 meters.

7. Test tank color reproduction evaluation.

8. Lab test of light sensitivity.

9. Price and availability.

10. Reputation of the manufacturer and record of customer service on repairs.