SALTWATER SAMPLER PARTS LIST

Date: 7/16/98

PART NUMBER

DESCRIPTION
VENDOR

PHONE NUMBER



MSAJ-9-CCP-OF
Female Connectors
Impulse Enterprises
800-327-1649

MSAJ-9-BCR

9 Pin Male Connector
Impulse Enterprises
Same

XSG-6-BCL
6 Pin Bulkhd. Connector
Impulse

Same

RMG-6-FS+G-FLS-P
3’ X 18/6 SO Cable
Impulse

Same

LMG-6-FS+G-FLS-P
3’ Cable w/ locking

6 pin end connectors
Impulse
Same

4SX1-T

Micro Switch

Newark Electronics
800-463-9275

A3952SW
Allegro Motor Control

Newark Electronics
Same

LM317T
Regulator
Newark Electronics
Same

05655K62
Hypalon Bellow
McMaster Carr
562-695-2449

92345006
Pittman DC Motor
Halbar North

650-349-4700

P237T-ND

Battery SC 1800MAH Nicad W/ Tab
Digi-Key
800-344-4539

STAMP2-ND
Basic Stamp II Module
Digi-Key
Same

STAMP2C-ND

Basic Stamp II Carrier Board
Digi-Key
Same

DN6852A-ND
IC HALL EFF Sensor UNI-DR OC S
Digi-Key
Same

DN6848-ND

IC HALL EFF Sensor UNI-D 3 SIP
Digi-Key
Same

9208B-ND
Databook Pan Hall Effect Sensor
Digi-Key
Same

N/A
APM Hexhead Standard
Hardware Specialty
760-431-8622


Pan head Seelscrew S4-40 x ¾”


















