# CoMPAS Lab Facilities Request for B225

## Room Changes

East Wall:

- Remove all desks, drawers and shelves

- Replace with:

  - 48”W Storage unit (see below)

  - Lista single bank cabinet ~38”

  - Remaining space (~32”) for cart parking

South Wall:

- Remove eyewash station

- Remove emergency shower

Ceiling:

- Install power & network outlets

- Install cable raceway from south to north walls

General:

- Paint

- Clean desk surfaces

- Remove drawer labels

## Suggested Items

Storage Shelf Unit

- #1

  - Extra Heavy Duty Quick-Assembly Shelving

  - McMaster: 4952T14

  - 48”Wx72”Hx24”D

  - Capacity = 11,000 lbs.

Technician Series Toolboxes  » Single Bank

- #1

- TSES900-0807-M

- Model 900 Single Bank Toolbox

- Color = Dusk Blue

- Mobile unit (casters)

- Weight: 398 lb.

- Dimensions: 22.5in. D× 34.25in. W × 47.375in H

- Color: Dusk Blue

- Butcher Block top

- Quantity = 1

LISTA All-Purpose Arlink 7000 Workbench System

- #1

- 603030BN-LG

- 60"L x 30"W x 30"H Table

- Butcher Block

- Color = Dusk Blue

- Quantity = 2

- End result will have casters and under shelf

- #2

- 7M1000

- Caster Kit

- Qty = 2 sets

- #3

- 7Z6018US-LG

- Under Shelf

- Qty = 2