## DEPLOY Drifting Sediment traps
STUFF | Packed and ready | On board | Small items:
Tube 1 contents |  |  | Pens/pencils
Tube 2 contents |  |  | zipties
Tube 3 contents |  |  | knife
Tube 4 contents |  |  | cheap drill with hex bit
Ballast |  |  | hose clamps
Lines (specify) |  |  | neoprene strips
Floats (Specify) |  |  | electrical tape
Hardware (shackles etc) |  |  | bungees and ropes
Sample logs |  |  | fkathead screwdriver
SW Carboys INSIDE cooler
Box of small items
Trap tubes
Trap frame
Tube rack
Milk crate
Net tow sample bottles
Niskin bottle
Nets
Planktivore
Hyperpro
Squeezy bottles
Gel jars
Funnel
Tubing
Thing for filling tubes

## RECOVER Drifting Sediment traps
STUFF on boat | Packed and ready | On board | Small items:
Lids for sediment traps |  |  | Pens/pencils
Rack for sediment trap |  |  | zipties
Tie downs |  |  | knife
Buckets for hardware, lines |  |  | cheap drill with hex bit
Knives, cutters |  |  | hose clamps
Sample logs |  |  | neoprene strips
SW Carboys INSIDE cooler |  |  | electrical tape
Box of small items |  |  | bungees and ropes
Milk crate
Net tow sample bottles
Niskin bottle
Nets
Hyperpro
Squeezy bottles
Gel jar lids
box for gel jars

## Deploy ISIIS
Date: |  |  | Ship: | Pre-deployment- ALWAYS
Sync clock to phone time
If you want to double check system is working on ROV without plugging into computer |  |  |  | Make sure hard drive has room for new files.
Make sure "Start" dummy plug is inserted, and ISIIS is plugged into ROV power supply |  |  |  | Make sure prior data have been downloaded to an MBARI share
Ask pilots to turn ISIIS power on |  |  |  | Plug in ISIIS cables EXCEPT Start/stop dummy plug
Wait ~ 1 minute and look for LED light in dome to turn on (beck end of unit) |  |  |  | Plug in power supply (12V)
Look for strobe light. It could take a minute or so to turn on. |  |  |  | Plug in comms cable and remote desktop to onboard Windows PC:
If the strobe turns on, it's working. |  |  |  | Navigate to Basler camera, CFE lab. Delete folders in there, and empty recycling bin.
To turn the system off, unplug the "Start" dummy plug.
The strobe light and little LED in the back will turn off. |  |  |  | Pre-deployment setup (only needed if deployment needs have changed since last deployment):
Ask pilots to turn off power to ISIIS |  |  |  | Plug in ISIIS cables EXCEPT Start/stop dummy plug
Plug the "Start" dummy plug back in so it's ready to launch. |  |  |  | Plug in power supply (12V)
Plug in comms cable and remote desktop to onboard Windows PC:
Open Jade, and jade file: SwitchShutdownCameraErrorReseartNoSensors (or something like that)
DEPLOYMENT |  |  |  | Open Relay Manager, turn on camera and light
Deployment configuration : Autonomous or ROV |  |  |  | Open Pylon Viewer
Frames per second: |  |  |  | Double click on Basler camera, then turn on by clocking red toggle (upper left, will turn green)
Exposure: |  |  |  | Turn viewer on briefly to test and make sure it's working, but then turn off to make/save changes
Click Acquisition control, scroll down to change Exposure time (using arrows) and frame rate (FPS)
Click execute many times, until seems like it actually registers the click
Mount securely to instrument |  |  |  | On lefthand panel, click on Configuration sets, and click Excecute next to User set Save (many times)
Take pics |  |  |  | Close programs and then power down Windows PC, then turn off power supply.
Plug power cable from sidekick to strobe |  |  |  | Unplug power supply and comms cables, and add their dummy plugs.
Plug comms cable from sidekick to camera
Plug power into ROV
Insert "Start/Stop" dummy
Wiped lenses gently with kimwipes
All connectors have some sort of cable or dummy plug
Lens caps taken off
RECOVERY
Make sure power is off to system
Rinse thoroughly with fresh water
Lightly swab lens only with HCL, then wipe with DI water
If you want to download while on the boat:
Take "Start" dummy out and replace with "blank" dummy
Ask pilots to power on unit
Connect data cable from camera to laptop
Download videos from using Firezilla to access onboard external hard drive
Filezilla
- Server set to access 2TB disk of Giota
- Group "user" goes to C:/Users/giota/
- Group "userExtSSD" goes to D:/ (4TB External Drive)
- 169.254.153.121 I user I No password I 21

## Simple ISIIS
Date: |  |  |  | Ship:
Pre-deployment- ALWAYS
Make sure hard drive has room for new files.
Make sure prior data have been downloaded to an MBARI share
Sync ISIIS clock to phone time
DEPLOYMENT
Deployment configuration : Autonomous or ROV |  |  | ROV Ventana
Frames per second: |  |  | 15
Exposure: |  |  | minimum
F-stop
Mount instrument securely to ROV
Take pics of system
Plug power cable from sidekick to strobe
Plug comms cable from sidekick to camera
Plug power into ROV- DO NOT TURN ON
Insert "Start/Stop" dummy
Wipe lenses gently with kimwipes
Verify All connectors have a cable or dummy plug
ROV- run thrugh all their pre-dive checks.
THEN turn power on to ISIIS
Put hand in ISIIS view and NOTE TIME HERE:
Start ROV main cam ercording
Take frame frab of phone showing time
RECOVERY
Unplug power plug.
Put in dummy plugs (or nitrile fingers)
turn off ROV
Rinse thoroughly with fresh water, especially beveled edges
Time offset
Lightly swab lens only with HCL, then wipe with DI water
If you want to download while on the boat:
Take "Start" dummy out and replace with "blank" dummy
Ask pilots to power on unit
Connect data cable from camera to laptop
Download videos from using Firezilla to access onboard external hard drive
Filezilla
- Server set to access 2TB disk of Giota
- Group "user" goes to C:/Users/giota/
- Group "userExtSSD" goes to D:/ (4TB External Drive)
- 169.254.153.121 I user I No password I 21