| Item | Description | Person | Timeline goal |
| --- | --- | --- | --- |
| Hardware/deployment prep |  |  |  |
| Deployment prep | Is the instrument ready? | Paul, Rich, Irene | Mid March |
|  | Mars interface. Castroville? Floats. Electronics part of the MARS interface power supply. Did not see that. Re-establish connection from weight to eyelet to red cuttable line. Alkaline batteries as backup in case MARS goes down. Can we put a full sphere of those. Also look for float packs and take hardware off. Bring cutters and bucket and pliers. We have to get keys from facilities | Paul, Rich |  |
|  | Modem prep. Hasn’t come off SES. Needs new batteries | Rich, Paul |  |
|  | Add ethanol mix |  |  |
|  | Battery needs | Paul |  |
|  | With Wave glider test the range. Loop and cross is a great way to rest comms range | Paul, Rich, Kent |  |
|  | PC104 arm microcontroller low power processor | Stick with it |  |
|  | There are two more battery packs in the Rover lab |  |  |
|  | Replace all o-rings |  |  |
|  | Crissy check with Steve Litvin and Lovera about switching | Crissy |  |
|  | Should be enough battery- 5 minute collect time, 10-minute flow through | Paul figuring out |  |
| Precruise | Submit | Crissy | Early April |
| Test tank time | Need to get ballast and addresses working. And MARS addresses schedule with Knute | Paul Knute |  |
| Deployment day | Go to sea! | Crissy, Rich, Paul, Natalia, Colleen | 3 May deployment |
| Schedule | How many times | Can be a variable schedule |  |
| Floats | We don’t have all the floats we need? | Go to Castroville |  |
| Upon recovery | What does the top baffle look like at the end of the deployment | Dive with ROV at deployment and recovery |  |
| Target | April 17th |  |  |
| Software |  |  |  |
| engineering process |  | Rich |  |
| Max sample rate | 6 per hour max |  |  |
| Max samples per battery sphere | Close to 6500 ish |  |  |
| Put on new motor | Want to test first |  |  |
| engineering requirements and review |  | Rich |  |
| Point out things we need to put numbers on |  | Rich |  |
| Could we modify collect time during deployment? | Rich made a way to do this with an acoustic modem but opted not to use it |  |  |
| Add a bulletin board where it stores recent info | Then something else can draw from this without waking it up | Rich | Can do while deployed Wave glider can ask contents of bulletin board. What kept it from working last time? Input/output buffer. Post things in the SES and Wave Glider will check the mailbox. SES will broadcast to other modems that are awake. If Rover had woken up it could have asked SES if something happened while it was sleeping. Pull notification not a push notification. |
| Data analysis |  |  |  |
| Data processing | Convert Meg’s code into Python | Crissy, Colleen | ASAP |
| SES during Pulse events | Compare timelines | Crissy, Yanwu, Colleen | After getting attenuance |
| SES indicators of Pulse events | Describe early indicators of pulse events | Crissy, Yanwu, Colleen |  |
| Remote triggering |  |  |  |
| McLane remote triggerable | Zoom meeting with McLane Two of the traps can do it. They’ll do some testing. We’d have to upgrade our firmware. Two of our controllers are new enough to do it. That allows over-line triggering. What’s missing is a way to receive an acoustic message and translate it to a command to talk to controller and initiate sample | Paul | Mid year |
| Other LF modem targets | New Rover MF modem |  |  |